CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS

# N2XY 0.6/1 kV XLPE/PVC Power Cable

Exact model: N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ

PRODUCT IMAGES

N2XY-J ¦ N2XY-O ¦ N2XY-JZ ¦ N2XY-OZ · Primary

PRODUCT OVERVIEW

NexPro N2XY 0.6/1 kV XLPE/PVC Power Cable is supplied as a configurable low-voltage power cable product family. Catalog models are preserved exactly as N2XY-J, N2XY-O, N2XY-JZ, N2XY-OZ. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.

| Product line | Cable & Wire for Electrical, ELV and Industrial Projects |
| --- | --- |
| Series / family | Low-voltage power cable |
| Exact model | N2XY-J ¦ N2XY-O ¦ N2XY-JZ ¦ N2XY-OZ |
| Applications | Low-voltage distribution, Industrial power projects, Fixed and buried installations |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable category | Catalog model | Configuration |
| --- | --- | --- | --- | --- |
| N2XY-J ¦ N2XY-O ¦ N2XY-JZ ¦ N2XY-OZ | N2XY 0.6/1 kV XLPE/PVC Power Cable | Low-voltage power cable | N2XY-J ¦ N2XY-O ¦ N2XY-JZ ¦ N2XY-OZ | Select from source table |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable category | Low-voltage power cable |
| Catalog model | N2XY-J ¦ N2XY-O ¦ N2XY-JZ ¦ N2XY-OZ |
| Configuration | Select from source table |
| Manufacturer models | N2XY-J / N2XY-O / N2XY-JZ / N2XY-OZ |
| Source parameter | With protective conductor: N2XY-J ¦ Without protective conductor: N2XY-O; With protective conductor: N2XY-JZ ¦ Without protective conductor: N2XY-OZ |
| 1 | With protective conductor: gn/ye ¦ Without protective conductor: bk |
| 2 | With protective conductor: - ¦ Without protective conductor: bu, bn |
| 3 | With protective conductor: gn/ye, bu, bn ¦ Without protective conductor: bn, bk, gy |
| 4 | With protective conductor: gn/ye, bn, bk, gy ¦ Without protective conductor: bu, bn, bk, gy |
| 5 | With protective conductor: gn/ye, bu, bn, bk, gy ¦ Without protective conductor: bu, bn, bk, gy, bk |
| >5 | With protective conductor: gn/ye, black cores with white numbering ¦ Without protective conductor: black cores with white numbering |

ENGINEERING TABLES

N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ · Source Specification Table 1

| Number of cores | With protective conductor | Without protective conductor |
| --- | --- | --- |
| Not provided | N2XY-J | N2XY-O |
| 1 | gn/ye | bk |
| 2 | - | bu, bn |
| 3 | gn/ye, bu, bn | bn, bk, gy |
| 4 | gn/ye, bn, bk, gy | bu, bn, bk, gy |
| 5 | gn/ye, bu, bn, bk, gy | bu, bn, bk, gy, bk |
| Not provided | N2XY-JZ | N2XY-OZ |
| >5 | gn/ye, black cores with white numbering | black cores with white numbering |