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Low-voltage power cable
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CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
N2XY 0.6/1 kV XLPE/PVC Power Cable
Exact model: N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
PRODUCT IMAGES
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	N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ · Primary



PRODUCT OVERVIEW
NexPro N2XY 0.6/1 kV XLPE/PVC Power Cable is supplied as a configurable low-voltage power cable product family. Catalog models are preserved exactly as N2XY-J, N2XY-O, N2XY-JZ, N2XY-OZ. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.
	Product line
	Cable & Wire for Electrical, ELV and Industrial Projects

	Series / family
	Low-voltage power cable

	Exact model
	N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ

	Applications
	Low-voltage distribution, Industrial power projects, Fixed and buried installations


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Cable category
	Catalog model
	Configuration

	N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
	N2XY 0.6/1 kV XLPE/PVC Power Cable
	Low-voltage power cable
	N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
	Select from source table


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Cable category
	Low-voltage power cable

	Catalog model
	N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ

	Configuration
	Select from source table

	Manufacturer models
	N2XY-J / N2XY-O / N2XY-JZ / N2XY-OZ

	Source parameter
	With protective conductor: N2XY-J | Without protective conductor: N2XY-O; With protective conductor: N2XY-JZ | Without protective conductor: N2XY-OZ

	1
	With protective conductor: gn/ye | Without protective conductor: bk

	2
	With protective conductor: - | Without protective conductor: bu, bn

	3
	With protective conductor: gn/ye, bu, bn | Without protective conductor: bn, bk, gy

	4
	With protective conductor: gn/ye, bn, bk, gy | Without protective conductor: bu, bn, bk, gy

	5
	With protective conductor: gn/ye, bu, bn, bk, gy | Without protective conductor: bu, bn, bk, gy, bk

	>5
	With protective conductor: gn/ye, black cores with white numbering | Without protective conductor: black cores with white numbering


ENGINEERING TABLES
N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ · Source Specification Table 1
	Number of cores
	With protective conductor
	Without protective conductor

	Not provided
	N2XY-J
	N2XY-O

	1
	gn/ye
	bk

	2
	-
	bu, bn

	3
	gn/ye, bu, bn
	bn, bk, gy

	4
	gn/ye, bn, bk, gy
	bu, bn, bk, gy

	5
	gn/ye, bu, bn, bk, gy
	bu, bn, bk, gy, bk

	Not provided
	N2XY-JZ
	N2XY-OZ

	>5
	gn/ye, black cores with white numbering
	black cores with white numbering
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