CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS

# NHXH E90 Halogen-Free Fire-Resistant Cable

Exact model: NHXH E90

PRODUCT IMAGES

NHXH E90 · Primary

PRODUCT OVERVIEW

NexPro NHXH E90 Halogen-Free Fire-Resistant Cable is supplied as a configurable fire-resistant safety cable product family. Catalog models are preserved exactly as NHXH E90. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.

| Product line | Cable & Wire for Electrical, ELV and Industrial Projects |
| --- | --- |
| Series / family | Fire-resistant safety cable |
| Exact model | NHXH E90 |
| Applications | Public buildings, Emergency circuits, Low-smoke installation projects |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable category | Catalog model | Configuration |
| --- | --- | --- | --- | --- |
| NHXH E90 | NHXH E90 Halogen-Free Fire-Resistant Cable | Fire-resistant safety cable | NHXH E90 | Select from source table |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable category | Fire-resistant safety cable |
| Catalog model | NHXH E90 |
| Configuration | Select from source table |
| Manufacturer models | NHXH E90 |
| Test voltage | Column 2: ¦ [V]: [V]_{AC} ¦ 600 / 1000 Volt: 4000 |
| Temperature range | Column 2: in motion ¦ [V]: ¦ 600 / 1000 Volt: -5°C till +90°C |
| Operating temperature | Column 2: short circuit ¦ [V]: °C ¦ 600 / 1000 Volt: 250 |
| Short circuit time | Column 2: max. ¦ [V]: [sec] ¦ 600 / 1000 Volt: 5 |
| Bending radius | Column 2: single core style ¦ [V]: x diameter ¦ 600 / 1000 Volt: 15 |
| multi core style | Column 2: x diameter ¦ [V]: 12 ¦ 600 / 1000 Volt: — |
| Flammability | Column 2: standard ¦ [V]: ¦ 600 / 1000 Volt: EN 50266-2-4IEC 60332-3 Kat.C |

ENGINEERING TABLES

NHXH E90 · Source Specification Table 1

| Nominal voltage Uo/U | Column 2 | [V] | 600 / 1000 Volt |
| --- | --- | --- | --- |
| Test voltage | Not provided | [V]_{AC} | 4000 |
| Temperature range | in motion | Not provided | -5°C till +90°C |
| Operating temperature | short circuit | °C | 250 |
| Short circuit time | max. | [sec] | 5 |
| Bending radius | single core style | x diameter | 15 |
| multi core style | x diameter | 12 | — |
| Flammability | standard | Not provided | EN 50266-2-4IEC 60332-3 Kat.C |

NHXH E90 · Source Specification Table 2

| Number of cores and nominal cross section mm^2 | Copper figure kg/km | Overall diameter appr.mm | Calorific potential kWh/m | Weight appr. kg/km |
| --- | --- | --- | --- | --- |
| 1 x 16 RM | 160 | 10,5 | 0,42 | 250 |
| 1 x 25 RM | 250 | 12,5 | 0,53 | 355 |
| 1 x 35 RM | 350 | 13,5 | 0,60 | 460 |
| 1 x 50 RM | 500 | 15,0 | 0,69 | 596 |
| 1 x 70 RM | 700 | 16,5 | 0,83 | 810 |
| 1 x 95 RM | 950 | 19,0 | 1,06 | 1.100 |
| 1 x 120 RM | 1.200 | 20,5 | 1,15 | 1.350 |