CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS

# NYM-J / NYM-O PVC Installation Cable

Exact model: NYM-J | NYM-O

PRODUCT IMAGES

NYM-J ¦ NYM-O · Primary

PRODUCT OVERVIEW

NexPro NYM-J / NYM-O PVC Installation Cable is supplied as a configurable fixed installation cable product family. Catalog models are preserved exactly as NYM-J, NYM-O. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.

| Product line | Cable & Wire for Electrical, ELV and Industrial Projects |
| --- | --- |
| Series / family | Fixed installation cable |
| Exact model | NYM-J ¦ NYM-O |
| Applications | Building wiring, Electrical panels, Fixed installation projects |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable category | Catalog model | Configuration |
| --- | --- | --- | --- | --- |
| NYM-J ¦ NYM-O | NYM-J / NYM-O PVC Installation Cable | Fixed installation cable | NYM-J ¦ NYM-O | Select from source table |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable category | Fixed installation cable |
| Catalog model | NYM-J ¦ NYM-O |
| Configuration | Select from source table |
| Manufacturer models | NYM-J / NYM-O |
| 2 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 0.42 ¦ Value 3: 8.8 ¦ Value 4: 115 ¦ Value 5: 100 R, 500 Sp |
| 3 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 0.44 ¦ Value 3: 8.5 ¦ Value 4: 120 ¦ Value 5: 100 R, 500 Sp |
| 4 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 0.53 ¦ Value 3: 9.3 ¦ Value 4: 145 ¦ Value 5: 100 R, 500 Sp |
| 5 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 0.58 ¦ Value 3: 10.2 ¦ Value 4: 170 ¦ Value 5: 100 R, 500 Sp |
| 7 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 0.67 ¦ Value 3: 12.3 ¦ Value 4: 235 ¦ Value 5: 1000 D |
| 10 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 1.05 ¦ Value 3: 14.3 ¦ Value 4: 330 ¦ Value 5: 500 Sp, 1000 Sp |
| 12 x 1.5 RE | Specified value: 12.1 ¦ Value 2: 1.17 ¦ Value 3: 14.4 ¦ Value 4: 400 ¦ Value 5: 100 R, 500 Sp |
| 3 x 2.5 RE | Specified value: 7.41 ¦ Value 2: 0.58 ¦ Value 3: 9.9 ¦ Value 4: 165 ¦ Value 5: 100 R, 500 Sp |

ENGINEERING TABLES

NYM-J | NYM-O · NYM-J or -O

| Parameter | Specified value | Value 2 | Value 3 | Value 4 | Value 5 |
| --- | --- | --- | --- | --- | --- |
| 2 x 1.5 RE | 12.1 | 0.42 | 8.8 | 115 | 100 R, 500 Sp |
| 3 x 1.5 RE | 12.1 | 0.44 | 8.5 | 120 | 100 R, 500 Sp |
| 4 x 1.5 RE | 12.1 | 0.53 | 9.3 | 145 | 100 R, 500 Sp |
| 5 x 1.5 RE | 12.1 | 0.58 | 10.2 | 170 | 100 R, 500 Sp |
| 7 x 1.5 RE | 12.1 | 0.67 | 12.3 | 235 | 1000 D |
| 10 x 1.5 RE | 12.1 | 1.05 | 14.3 | 330 | 500 Sp, 1000 Sp |
| 12 x 1.5 RE | 12.1 | 1.17 | 14.4 | 400 | 100 R, 500 Sp |
| 3 x 2.5 RE | 7.41 | 0.58 | 9.9 | 165 | 100 R, 500 Sp |
| 4 x 2.5 RE | 7.41 | 0.67 | 10.7 | 205 | 100 R, 500 Sp |
| 5 x 2.5 RE | 7.41 | 0.72 | 11.7 | 245 | 100 R, 500 Sp |
| 7 x 2.5 RE | 7.41 | 0.88 | 14.5 | 335 | 1000 D |
| 3 x 4 RE | 4.61 | 0.72 | 10.8 | 265 | 1000 D |
| 4 x 4 RE | 4.61 | 0.92 | 12.8 | 305 | 1000 D |
| 5 x 4 RE | 4.61 | 1.11 | 13.9 | 370 | 1000 D |
| 5 x 6 RE | 3.08 | 1.28 | 15.1 | 460 | 1000 D |