## Slide 1
TECHNICAL PRODUCT PORTFOLIO
Cable & Wire for Electrical, ELV and Industrial Projects
Detailed model selection for overseas B2B projects, system integration and procurement
TECHNICAL DATA
MODEL SELECTION
PROJECT RFQ
H05V-U | H07V-U
H05V-R | H07V-R
H05V-K
H05V-K
H07V-K
35
catalog models
23
product families
18
application contexts
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\01_h05v-u-h07v-u\01_main_html-075.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\02_h05v-r-h07v-r\01_main_html-082.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\01_main_html-083.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\02_detail_html-085.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\04_h07v-k\01_main_html-086.jpg

## Slide 2
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Application landscape
NexPro Product Intelligence · Project configurations are confirmed through RFQ
02
H05V-U | H07V-U
H05V-R | H07V-R
H05V-K
Building wiring
Electrical panels
Fixed installation projects
Equipment connections
Flexible wiring
OEM electrical assemblies
Public buildings
Emergency circuits
Low-smoke installation projects
Industrial equipment
Mobile machinery
Demanding flexible installations
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\01_h05v-u-h07v-u\01_main_html-075.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\02_h05v-r-h07v-r\01_main_html-082.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\01_main_html-083.jpg

## Slide 3
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Portfolio structure
NexPro Product Intelligence · Project configurations are confirmed through RFQ
03
H05V-U / H07V-U PVC Insulated Solid Building Wire
2 models
H05V-U | H07V-U · H05V-R | H07V-R
H05V-K Flexible PVC Insulated Wire
2 models
H05V-K · H07V-K
H05Z-R / H07Z-R LSZH Insulated Wire
2 models
H05Z-R | H07Z-R · H07Z1-U
H03VV-F Light Duty PVC Flexible Cord
3 models
H03VV-F · H05VV-F
H01N2-D Welding Cable
4 models
H01N2-D · H05RR-F
BS 6004 624-Y Twin and Earth PVC Cable
2 models
624-Y · NYM-J | NYM-O
Photovoltaic Solar Cable
1 model
PV Solar Cable
SPT-1 / SPT-2 / SPT-3 Lamp Cord
1 model
SPT-1 | SPT-2 | SPT-3
Type TW Thermoplastic Building Wire
1 model
TW
600/1000 V ABC Aerial Bundled Cable NFC 33-209
1 model
ABC NFC 33-209
NYY 0.6/1 kV PVC Power Cable
3 models
NYY · N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
FLRY-B Thin-Wall Automotive Wire
1 model
FLRY-B
Plus 11 additional approved families — see the model register and product specification documents.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 4
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05V-U | H07V-U · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
04
H05V-U | H07V-U
H05V-U / H07V-U PVC Insulated Solid Building Wire
Approved parameters 1–8 of 8
PARAMETER
APPROVED SPECIFICATION
Cable category
Single-core building wire
Catalog model
H05V-U | H07V-U
Configuration
Select from source table
Manufacturer models
H05V-U / H07V-U
Conductor
Specified value: Bare solid copper
Insulation
Specified value: PVC
Minimum bending radius, fixed installation
Specified value: 4xOD
Colour
Specified value: According to EN 50525-1
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\01_h05v-u-h07v-u\01_main_html-075.jpg

## Slide 5
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H05V-U | H07V-U
NexPro Product Intelligence · Project configurations are confirmed through RFQ
05
H05V-U | H07V-U
Construction
Table page 1/1
Parameter
Specified value
Conductor
Bare solid copper
Insulation
PVC
Minimum bending radius, fixed installation
4xOD
Colour
According to EN 50525-1
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\01_h05v-u-h07v-u\01_main_html-075.jpg

## Slide 6
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H05V-U | H07V-U
NexPro Product Intelligence · Project configurations are confirmed through RFQ
06
H05V-U | H07V-U
Source Specification Table 2
Table page 1/1
Type Code
Cross-section [mm]
Nominal Outer Diameter [mm]
Current rating, installation in open air, ambient 30°C [A]
Total weight [kg/km]
H05V-U
0,5
2,0
12
9
H05V-U
0,75
2,2
15
11
H05V-U
1
2,3
19
14
H07V-U
1,5
2,8
24
20
H07V-U
2,5
3,4
32
31
H07V-U
4
3,8
42
46
H07V-U
6
4,3
54
68
H07V-U
10
5,4
73
111
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\01_h05v-u-h07v-u\01_main_html-075.jpg

## Slide 7
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05V-R | H07V-R · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
07
H05V-R | H07V-R
H05V-R / H07V-R PVC Insulated Stranded Building Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Single-core building wire
Catalog model
H05V-R | H07V-R
Configuration
Select from source table
Manufacturer models
H05V-R / H07V-R
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\02_h05v-r-h07v-r\01_main_html-082.jpg

## Slide 8
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05V-K · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
08
H05V-K
H05V-K Flexible PVC Insulated Wire
Approved parameters 1–7 of 7
PARAMETER
APPROVED SPECIFICATION
Cable category
Single-core flexible wire
Catalog model
H05V-K
Configuration
Select from source table
Manufacturer models
H05V-K
1x0,5
Resistance at 20 °C (Ohm/km): 39 | External Diameter (mm): 2,15 | Weight (kg/km): 9 | Class: Eca
1x0,75
Resistance at 20 °C (Ohm/km): 26 | External Diameter (mm): 2,25 | Weight (kg/km): 11 | Class: Eca
1x1
Resistance at 20 °C (Ohm/km): 19,5 | External Diameter (mm): 2,50 | Weight (kg/km): 14 | Class: Eca
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\01_main_html-083.jpg

## Slide 9
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H05V-K
NexPro Product Intelligence · Project configurations are confirmed through RFQ
09
H05V-K
Source Specification Table 1
Table page 1/1
Section (mm²)
Resistance at 20 °C (Ohm/km)
External Diameter (mm)
Weight (kg/km)
Class
1x0,5
39
2,15
9
Eca
1x0,75
26
2,25
11
Eca
1x1
19,5
2,50
14
Eca
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\01_main_html-083.jpg

## Slide 10
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H05V-K
NexPro Product Intelligence · Project configurations are confirmed through RFQ
10
H05V-K
Source Specification Table 2
Table page 1/1
1. Conductor
Flexible electrolytic copper conductor (Class V) according to BS EN 60228:2005 (previously BS6360) and EN 60228.
2. Insulation
PVC insulation type TI-1 according to BS7655 and HD 21.3S3:1995/A2:2008.
Nominal voltage
300/500 V
Test voltage
2.000 V A.C.
Maximum temperature
70 °C
Other characteristics
—
Colours according to HD 21.1S4:2002Non-flame propagating according to UNE-EN 60332-1-2, EN 60332-1-2 and IEC 60332-1-2CPR Classification according to EN 50575
—
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\03_h05v-k\01_main_html-083.jpg

## Slide 11
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H07V-K · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
11
H07V-K
H07V-K Flexible PVC Insulated Wire
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Single-core flexible wire
Catalog model
H07V-K
Configuration
Select from source table
Manufacturer models
H07V-K
1.5
Conductor diam. (mm): 1.55 | Nom. o u t e r d i a m . (mm): 3.50 | Permissible current rating (3 conductors) (A): 15.5 | Permissible current (One phase) (A): 17.5 | Approx. weight (kg/km): 21
2.5
Conductor diam. (mm): 2.00 | Nom. o u t e r d i a m . (mm): 4.2 | Permissible current rating (3 conductors) (A): 21.0 | Permissible current (One phase) (A): 24.0 | Approx. weight (kg/km): 35
4
Conductor diam. (mm): 2.50 | Nom. o u t e r d i a m . (mm): 4.8 | Permissible current rating (3 conductors) (A): 28.0 | Permissible current (One phase) (A): 32.0 | Approx. weight (kg/km): 45
6
Conductor diam. (mm): 3.00 | Nom. o u t e r d i a m . (mm): 6.3 | Permissible current rating (3 conductors) (A): 36.0 | Permissible current (One phase) (A): 41.0 | Approx. weight (kg/km): 68
10
Conductor diam. (mm): 4.00 | Nom. o u t e r d i a m . (mm): 7.6 | Permissible current rating (3 conductors) (A): 50.0 | Permissible current (One phase) (A): 57.0 | Approx. weight (kg/km): 115
16
Conductor diam. (mm): 5.45 | Nom. o u t e r d i a m . (mm): 8.8 | Permissible current rating (3 conductors) (A): 68.0 | Permissible current (One phase) (A): 76.0 | Approx. weight (kg/km): 183
25
Conductor diam. (mm): 6.60 | Nom. o u t e r d i a m . (mm): 11.0 | Permissible current rating (3 conductors) (A): 89.0 | Permissible current (One phase) (A): 96.0 | Approx. weight (kg/km): 290
35
Conductor diam. (mm): 8.00 | Nom. o u t e r d i a m . (mm): 12.5 | Permissible current rating (3 conductors) (A): 110.0 | Permissible current (One phase) (A): 119.0 | Approx. weight (kg/km): 320
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\04_h07v-k\01_main_html-086.jpg

## Slide 12
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H07V-K
NexPro Product Intelligence · Project configurations are confirmed through RFQ
12
H07V-K
Source Specification Table 1
Table page 1/2
Cross section (mm²)
Conductor diam. (mm)
Nom. o u t e r d i a m . (mm)
Permissible current rating (3 conductors) (A)
Permissible current (One phase) (A)
Approx. weight (kg/km)
1.5
1.55
3.50
15.5
17.5
21
2.5
2.00
4.2
21.0
24.0
35
4
2.50
4.8
28.0
32.0
45
6
3.00
6.3
36.0
41.0
68
10
4.00
7.6
50.0
57.0
115
16
5.45
8.8
68.0
76.0
183
25
6.60
11.0
89.0
96.0
290
35
8.00
12.5
110.0
119.0
320
50
9.50
14.5
134.0
144.0
470
70
11.30
17.0
171.0
184.0
505
95
13.60
19.0
207.0
223.0
756
120
15.20
21.0
239.0
259.0
1120
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\04_h07v-k\01_main_html-086.jpg

## Slide 13
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H07V-K
NexPro Product Intelligence · Project configurations are confirmed through RFQ
13
H07V-K
Source Specification Table 1
Table page 2/2
Cross section (mm²)
Conductor diam. (mm)
Nom. o u t e r d i a m . (mm)
Permissible current rating (3 conductors) (A)
Permissible current (One phase) (A)
Approx. weight (kg/km)
150
16.70
23.5
275.0
299.0
1525
185
18.80
26.0
315.0
341.0
1890
240
21.20
29.5
371.0
403.0
2340
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\04_h07v-k\01_main_html-086.jpg

## Slide 14
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05Z-R | H07Z-R · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
14
H05Z-R | H07Z-R
H05Z-R / H07Z-R LSZH Insulated Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Low-smoke zero-halogen wire
Catalog model
H05Z-R | H07Z-R
Configuration
Select from source table
Manufacturer models
H05Z-R / H07Z-R
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\05_h05z-r-h07z-r\01_main_html-088.jpg

## Slide 15
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H07Z1-U · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
15
H07Z1-U
H07Z1-U LSZH Solid Building Wire
Approved parameters 1–8 of 8
PARAMETER
APPROVED SPECIFICATION
Cable category
Low-smoke zero-halogen wire
Catalog model
H07Z1-U
Configuration
Select from source table
Manufacturer models
H07Z1-U
1.5
Nominal Thickness of insulation (mm): 0.7 | MAX. Resistance of conductor at 70°C (MΩ): 0.011 | Nom. outer diam. (mm): 2.6-3.2 | Approx. weight (kg/km): 21
2.5
Nominal Thickness of insulation (mm): 0.8 | MAX. Resistance of conductor at 70°C (MΩ): 0.010 | Nom. outer diam. (mm): 3.2-3.9 | Approx. weight (kg/km): 35
4
Nominal Thickness of insulation (mm): 0.8 | MAX. Resistance of conductor at 70°C (MΩ): 0.0087 | Nom. outer diam. (mm): 3.6-4.4 | Approx. weight (kg/km): 44
6
Nominal Thickness of insulation (mm): 0.8 | MAX. Resistance of conductor at 70°C (MΩ): 0.0074 | Nom. outer diam. (mm): 4.1-5.0 | Approx. weight (kg/km): 66
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\06_h07z1-u\01_main.png

## Slide 16
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H07Z1-U
NexPro Product Intelligence · Project configurations are confirmed through RFQ
16
H07Z1-U
Source Specification Table 1
Table page 1/1
Cross section (mm²)
Nominal Thickness of insulation (mm)
MAX. Resistance of conductor at 70°C (MΩ)
Nom. outer diam. (mm)
Approx. weight (kg/km)
1.5
0.7
0.011
2.6-3.2
21
2.5
0.8
0.010
3.2-3.9
35
4
0.8
0.0087
3.6-4.4
44
6
0.8
0.0074
4.1-5.0
66
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\06_h07z1-u\01_main.png

## Slide 17
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H03VV-F · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
17
H03VV-F
H03VV-F Light Duty PVC Flexible Cord
Approved parameters 1–10 of 10
PARAMETER
APPROVED SPECIFICATION
Cable category
PVC flexible cord
Catalog model
H03VV-F
Configuration
Select from source table
Manufacturer models
H03VV-F
2x0,5
Resistance at 20 °C (Ohm/km): 39 | External Diameter (mm): 4,75 | Weight (kg/km): 40 | Class: Eca
2x0,75
Resistance at 20 °C (Ohm/km): 26 | External Diameter (mm): 5,20 | Weight (kg/km): 41 | Class: Eca
3G0,5
Resistance at 20 °C (Ohm/km): 39 | External Diameter (mm): 5,25 | Weight (kg/km): 42 | Class: Eca
3G0,75
Resistance at 20 °C (Ohm/km): 26 | External Diameter (mm): 5,50 | Weight (kg/km): 49 | Class: Eca
4x0,5
Resistance at 20 °C (Ohm/km): 39 | External Diameter (mm): 5,60 | Weight (kg/km): 47 | Class: Eca
4x0,75
Resistance at 20 °C (Ohm/km): 26 | External Diameter (mm): 6,30 | Weight (kg/km): 64 | Class: Eca
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\07_h03vv-f\01_main_html-089.jpg

## Slide 18
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H03VV-F
NexPro Product Intelligence · Project configurations are confirmed through RFQ
18
H03VV-F
Source Specification Table 1
Table page 1/1
Section (mm²)
Resistance at 20 °C (Ohm/km)
External Diameter (mm)
Weight (kg/km)
Class
2x0,5
39
4,75
40
Eca
2x0,75
26
5,20
41
Eca
3G0,5
39
5,25
42
Eca
3G0,75
26
5,50
49
Eca
4x0,5
39
5,60
47
Eca
4x0,75
26
6,30
64
Eca
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\07_h03vv-f\01_main_html-089.jpg

## Slide 19
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H03VV-F
NexPro Product Intelligence · Project configurations are confirmed through RFQ
19
H03VV-F
Source Specification Table 2
Table page 1/1
1. Conductor
Flexible electrolytic copper conductor (Class V) according to BS EN 60228:2005 (previously BS6360) and UNE 60228.
2. Insulation
PVC insulation type TI-2 according to BS7655, UNE-EN 50363-3 and EN 50363-3
3. Sheath
PVC sheath type TM-2 according to BS7655, UNE-EN 50363-4-1 and EN 50363-4-1
Nominal voltage
300/300 V
Test voltage
2.000 V A.C.
Maximum temperature
70 °C
Other characteristics
—
Colours according to UNE 21089 and HD 303S2 (colour marking when less than five conductors) and UNE-EN 50334 and EN 50334 (inscription marking when more than five conductors)Non-flame propagating according to UNE-EN 60332-1-2, EN 60332-1-2 and IEC 60332-1-2PVC with reduced hydrogen chloride (HCI) emissionCPR Classification according to EN 50575
—
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\07_h03vv-f\01_main_html-089.jpg

## Slide 20
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05VV-F · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
20
H05VV-F
H05VV-F Ordinary Duty PVC Flexible Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
PVC flexible cord
Catalog model
H05VV-F
Configuration
Select from source table
Manufacturer models
H05VV-F
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\08_h05vv-f\01_main_html-093.jpg

## Slide 21
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · 60227 IEC 53 (RVV) | RVV · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
21
60227 IEC 53 (RVV) | RVV
RVV PVC Insulated Flexible Sheathed Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
PVC flexible cord
Catalog model
60227 IEC 53 (RVV) | RVV
Configuration
Select from source table
Manufacturer models
60227 IEC 53 (RVV) / RVV
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\29_rvv-wire\01_main.png

## Slide 22
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H01N2-D · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
22
H01N2-D
H01N2-D Welding Cable
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Rubber flexible cable
Catalog model
H01N2-D
Configuration
Select from source table
Manufacturer models
H01N2-D
10
Nom. Insulation Thickness (mm): 2 | Nom. outer diam. (mm): 9 | Max. Resistance of Conductor @ 20°C (Ω/Km): 1.91 | Approx.weight (kg/km): 165
16
Nom. Insulation Thickness (mm): 2 | Nom. outer diam. (mm): 10 | Max. Resistance of Conductor @ 20°C (Ω/Km): 1.21 | Approx.weight (kg/km): 202
25
Nom. Insulation Thickness (mm): 2 | Nom. outer diam. (mm): 11.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.78 | Approx.weight (kg/km): 299
35
Nom. Insulation Thickness (mm): 2 | Nom. outer diam. (mm): 12.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.554 | Approx.weight (kg/km): 395
50
Nom. Insulation Thickness (mm): 2.2 | Nom. outer diam. (mm): 14.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.386 | Approx.weight (kg/km): 540
70
Nom. Insulation Thickness (mm): 2.4 | Nom. outer diam. (mm): 16.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.272 | Approx.weight (kg/km): 752
95
Nom. Insulation Thickness (mm): 2.6 | Nom. outer diam. (mm): 18.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.206 | Approx.weight (kg/km): 988
120
Nom. Insulation Thickness (mm): 2.8 | Nom. outer diam. (mm): 20.5 | Max. Resistance of Conductor @ 20°C (Ω/Km): 0.161 | Approx.weight (kg/km): 1227
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\09_h01n2-d\01_main_html-098.jpg

## Slide 23
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · H01N2-D
NexPro Product Intelligence · Project configurations are confirmed through RFQ
23
H01N2-D
Source Specification Table 1
Table page 1/1
Cross section (mm²)
Nom. Insulation Thickness (mm)
Nom. outer diam. (mm)
Max. Resistance of Conductor @ 20°C (Ω/Km)
Approx.weight (kg/km)
10
2
9
1.91
165
16
2
10
1.21
202
25
2
11.5
0.78
299
35
2
12.5
0.554
395
50
2.2
14.5
0.386
540
70
2.4
16.5
0.272
752
95
2.6
18.5
0.206
988
120
2.8
20.5
0.161
1227
150
3
23
0.129
1529
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\09_h01n2-d\01_main_html-098.jpg

## Slide 24
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05RR-F · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
24
H05RR-F
H05RR-F Ordinary Duty Rubber Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Rubber flexible cable
Catalog model
H05RR-F
Configuration
Select from source table
Manufacturer models
H05RR-F
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\10_h05rr-f\01_main_html-099.jpg

## Slide 25
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H05RN-F · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
25
H05RN-F
H05RN-F Oil-Resistant Rubber Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Rubber flexible cable
Catalog model
H05RN-F
Configuration
Select from source table
Manufacturer models
H05RN-F
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\11_h05rn-f\01_main_html-101.jpg

## Slide 26
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · H07RN-F · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
26
H07RN-F
H07RN-F Heavy Duty Rubber Trailing Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Rubber flexible cable
Catalog model
H07RN-F
Configuration
Select from source table
Manufacturer models
H07RN-F
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\12_h07rn-f\01_main_html-102.jpg

## Slide 27
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · 624-Y · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
27
624-Y
BS 6004 624-Y Twin and Earth PVC Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Fixed installation cable
Catalog model
624-Y
Configuration
Select from source table
Manufacturer models
624-Y
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\13_bs6004-624y\01_main_html-106.jpg

## Slide 28
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · NYM-J | NYM-O · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
28
NYM-J | NYM-O
NYM-J / NYM-O PVC Installation Cable
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Fixed installation cable
Catalog model
NYM-J | NYM-O
Configuration
Select from source table
Manufacturer models
NYM-J / NYM-O
2 x 1.5 RE
Specified value: 12.1 | Value 2: 0.42 | Value 3: 8.8 | Value 4: 115 | Value 5: 100 R, 500 Sp
3 x 1.5 RE
Specified value: 12.1 | Value 2: 0.44 | Value 3: 8.5 | Value 4: 120 | Value 5: 100 R, 500 Sp
4 x 1.5 RE
Specified value: 12.1 | Value 2: 0.53 | Value 3: 9.3 | Value 4: 145 | Value 5: 100 R, 500 Sp
5 x 1.5 RE
Specified value: 12.1 | Value 2: 0.58 | Value 3: 10.2 | Value 4: 170 | Value 5: 100 R, 500 Sp
7 x 1.5 RE
Specified value: 12.1 | Value 2: 0.67 | Value 3: 12.3 | Value 4: 235 | Value 5: 1000 D
10 x 1.5 RE
Specified value: 12.1 | Value 2: 1.05 | Value 3: 14.3 | Value 4: 330 | Value 5: 500 Sp, 1000 Sp
12 x 1.5 RE
Specified value: 12.1 | Value 2: 1.17 | Value 3: 14.4 | Value 4: 400 | Value 5: 100 R, 500 Sp
3 x 2.5 RE
Specified value: 7.41 | Value 2: 0.58 | Value 3: 9.9 | Value 4: 165 | Value 5: 100 R, 500 Sp
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\18_nym-j-o\01_main_html-125.jpg

## Slide 29
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NYM-J | NYM-O
NexPro Product Intelligence · Project configurations are confirmed through RFQ
29
NYM-J | NYM-O
NYM-J or -O
Table page 1/2
Parameter
Specified value
Value 2
Value 3
Value 4
Value 5
2 x 1.5 RE
12.1
0.42
8.8
115
100 R, 500 Sp
3 x 1.5 RE
12.1
0.44
8.5
120
100 R, 500 Sp
4 x 1.5 RE
12.1
0.53
9.3
145
100 R, 500 Sp
5 x 1.5 RE
12.1
0.58
10.2
170
100 R, 500 Sp
7 x 1.5 RE
12.1
0.67
12.3
235
1000 D
10 x 1.5 RE
12.1
1.05
14.3
330
500 Sp, 1000 Sp
12 x 1.5 RE
12.1
1.17
14.4
400
100 R, 500 Sp
3 x 2.5 RE
7.41
0.58
9.9
165
100 R, 500 Sp
4 x 2.5 RE
7.41
0.67
10.7
205
100 R, 500 Sp
5 x 2.5 RE
7.41
0.72
11.7
245
100 R, 500 Sp
7 x 2.5 RE
7.41
0.88
14.5
335
1000 D
3 x 4 RE
4.61
0.72
10.8
265
1000 D
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\18_nym-j-o\01_main_html-125.jpg

## Slide 30
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NYM-J | NYM-O
NexPro Product Intelligence · Project configurations are confirmed through RFQ
30
NYM-J | NYM-O
NYM-J or -O
Table page 2/2
Parameter
Specified value
Value 2
Value 3
Value 4
Value 5
4 x 4 RE
4.61
0.92
12.8
305
1000 D
5 x 4 RE
4.61
1.11
13.9
370
1000 D
5 x 6 RE
3.08
1.28
15.1
460
1000 D
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\18_nym-j-o\01_main_html-125.jpg

## Slide 31
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · PV Solar Cable · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
31
PV Solar Cable
Photovoltaic Solar Cable
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Photovoltaic cable
Catalog model
PV Solar Cable
Configuration
Select from source table
Manufacturer models
PV Solar Cable
1.5
Monofilament diameter mm / number of pieces: 0.25/30 | conductor outer diameter mm: 1.6 | Insulation thickness mm: 0.5 | Sheath thickness mm: 0.5 | Finished outer diameter mm: 3.6-4.0 | Approximate weight /km/kg: 32.33
2.5
Monofilament diameter mm / number of pieces: 0.25/49 | conductor outer diameter mm: 2.1 | Insulation thickness mm: 0.5 | Sheath thickness mm: 0.5 | Finished outer diameter mm: 4.1-4.4 | Approximate weight /km/kg: 36.82
4
Monofilament diameter mm / number of pieces: 0.30/56 | conductor outer diameter mm: 2.6 | Insulation thickness mm: 0.7 | Sheath thickness mm: 0.7 | Finished outer diameter mm: 5.4-5.7 | Approximate weight /km/kg: 67.89
6
Monofilament diameter mm / number of pieces: 0.30/84 | conductor outer diameter mm: 3.2 | Insulation thickness mm: 0.7 | Sheath thickness mm: 0.7 | Finished outer diameter mm: 6.5-6.9 | Approximate weight /km/kg: 75.44
10
Monofilament diameter mm / number of pieces: 0.40/80 | conductor outer diameter mm: 4.1 | Insulation thickness mm: 0.8 | Sheath thickness mm: 0.7 | Finished outer diameter mm: 7.1-7.5 | Approximate weight /km/kg: 95.64
16
Monofilament diameter mm / number of pieces: 0.40/126 | conductor outer diameter mm: 5.2 | Insulation thickness mm: 0.8 | Sheath thickness mm: 0.7 | Finished outer diameter mm: 8.2-8.7 | Approximate weight /km/kg: 110.46
25
Monofilament diameter mm / number of pieces: 0.40/196 | conductor outer diameter mm: 6.5 | Insulation thickness mm: 1 | Sheath thickness mm: 0.9 | Finished outer diameter mm: 10.3-10.7 | Approximate weight /km/kg: 175.75
35
Monofilament diameter mm / number of pieces: 0.40/276 | conductor outer diameter mm: 7.7 | Insulation thickness mm: 1 | Sheath thickness mm: 0.9 | Finished outer diameter mm: 11.5-12.5 | Approximate weight /km/kg: 196.22
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\14_solar-cable\01_main_html-118.jpg

## Slide 32
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · PV Solar Cable
NexPro Product Intelligence · Project configurations are confirmed through RFQ
32
PV Solar Cable
Source Specification Table 1
Table page 1/1
Cross-sectional area mm²
Monofilament diameter mm / number of pieces
conductor outer diameter mm
Insulation thickness mm
Sheath thickness mm
Finished outer diameter mm
Approximate weight /km/kg
1.5
0.25/30
1.6
0.5
0.5
3.6-4.0
32.33
2.5
0.25/49
2.1
0.5
0.5
4.1-4.4
36.82
4
0.30/56
2.6
0.7
0.7
5.4-5.7
67.89
6
0.30/84
3.2
0.7
0.7
6.5-6.9
75.44
10
0.40/80
4.1
0.8
0.7
7.1-7.5
95.64
16
0.40/126
5.2
0.8
0.7
8.2-8.7
110.46
25
0.40/196
6.5
1
0.9
10.3-10.7
175.75
35
0.40/276
7.7
1
0.9
11.5-12.5
196.22
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\14_solar-cable\01_main_html-118.jpg

## Slide 33
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · SPT-1 | SPT-2 | SPT-3 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
33
SPT-1 | SPT-2 | SPT-3
SPT-1 / SPT-2 / SPT-3 Lamp Cord
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Lamp cord
Catalog model
SPT-1 | SPT-2 | SPT-3
Configuration
Select from source table
Manufacturer models
SPT-1 / SPT-2 / SPT-3
SPT - 1
Size (AWG): — | No. of Conductors: — | Conductor Stranding (No./AWG): — | Insulation Thickness (inches): — | Overall Diameter (inches): — | Ampacity (amps): — | Weight (lbs/kft): —
SPT1-18/2
Size (AWG): 18 | No. of Conductors: 2 | Conductor Stranding (No./AWG): 41/34 | Insulation Thickness (inches): 0.030 | Overall Diameter (inches): 0.11 x 0.22 | Ampacity (amps): 10 | Weight (lbs/kft): 20
SPT1-18/3
Size (AWG): 18 | No. of Conductors: 3 | Conductor Stranding (No./AWG): 41/34 | Insulation Thickness (inches): 0.030 | Overall Diameter (inches): 0.11 x 0.33 | Ampacity (amps): 10 | Weight (lbs/kft): 30
SPT – 2
Size (AWG): — | No. of Conductors: — | Conductor Stranding (No./AWG): — | Insulation Thickness (inches): — | Overall Diameter (inches): — | Ampacity (amps): — | Weight (lbs/kft): —
SPT2-18/2
Size (AWG): 18 | No. of Conductors: 2 | Conductor Stranding (No./AWG): 41/34 | Insulation Thickness (inches): 0.045 | Overall Diameter (inches): 0.14 x 0.27 | Ampacity (amps): 10 | Weight (lbs/kft): 27
SPT2-16/2
Size (AWG): 16 | No. of Conductors: 2 | Conductor Stranding (No./AWG): 65/34 | Insulation Thickness (inches): 0.045 | Overall Diameter (inches): 0.15 x 0.30 | Ampacity (amps): 13 | Weight (lbs/kft): 36
SPT2-16/3
Size (AWG): 16 | No. of Conductors: 3 | Conductor Stranding (No./AWG): 65/34 | Insulation Thickness (inches): 0.045 | Overall Diameter (inches): 0.15 x 0.45 | Ampacity (amps): 10 | Weight (lbs/kft): 54
SPT – 3
Size (AWG): — | No. of Conductors: — | Conductor Stranding (No./AWG): — | Insulation Thickness (inches): — | Overall Diameter (inches): — | Ampacity (amps): — | Weight (lbs/kft): —
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\15_spt-lamp-cord\01_main_html-122.jpg

## Slide 34
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · SPT-1 | SPT-2 | SPT-3
NexPro Product Intelligence · Project configurations are confirmed through RFQ
34
SPT-1 | SPT-2 | SPT-3
Source Specification Table 1
Table page 1/2
Part Number
Size (AWG)
No. of Conductors
Conductor Stranding (No./AWG)
Insulation Thickness (inches)
Overall Diameter (inches)
Ampacity (amps)
Weight (lbs/kft)
SPT - 1
—
—
—
—
—
—
—
SPT1-18/2
18
2
41/34
0.030
0.11 x 0.22
10
20
SPT1-18/3
18
3
41/34
0.030
0.11 x 0.33
10
30
SPT – 2
—
—
—
—
—
—
—
SPT2-18/2
18
2
41/34
0.045
0.14 x 0.27
10
27
SPT2-16/2
16
2
65/34
0.045
0.15 x 0.30
13
36
SPT2-16/3
16
3
65/34
0.045
0.15 x 0.45
10
54
SPT – 3
—
—
—
—
—
—
—
SPT3-16/2
16
2
65/34
0.060
0.18 x 0.36
13
47
SPT3-14/2
14
2
41/30
0.060
0.20 x 0.40
18
61
SPT3-14/3
14
3
41/30
0.060
0.20 x 0.60
15
92
SPT3-12/2
12
2
65/30
0.060
0.22 x 0.44
25
82
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\15_spt-lamp-cord\01_main_html-122.jpg

## Slide 35
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · SPT-1 | SPT-2 | SPT-3
NexPro Product Intelligence · Project configurations are confirmed through RFQ
35
SPT-1 | SPT-2 | SPT-3
Source Specification Table 1
Table page 2/2
Part Number
Size (AWG)
No. of Conductors
Conductor Stranding (No./AWG)
Insulation Thickness (inches)
Overall Diameter (inches)
Ampacity (amps)
Weight (lbs/kft)
SPT3-12/3
12
3
65/30
0.060
0.22 x 0.66
20
123
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\15_spt-lamp-cord\01_main_html-122.jpg

## Slide 36
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · TW · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
36
TW
Type TW Thermoplastic Building Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Building wire
Catalog model
TW
Configuration
Select from source table
Manufacturer models
TW
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\16_tw-wire\01_main.png

## Slide 37
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · ABC NFC 33-209 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
37
ABC NFC 33-209
600/1000 V ABC Aerial Bundled Cable NFC 33-209
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Aerial bundled cable
Catalog model
ABC NFC 33-209
Configuration
Select from source table
Manufacturer models
ABC NFC 33-209
mm^2
max. conductor-resistance: Ohm/km | min. breaking load of conductor strand: kN | Current rating in the air: A | Outer diameter: mm | Total weight: kg/km
2x10 RM
max. conductor-resistance: 3.080 | min. breaking load of conductor strand: 1.5 | Current rating in the air: 38 | Outer diameter: 12.8 | Total weight: 93
4x10 RM
max. conductor-resistance: 3.080 | min. breaking load of conductor strand: 1.5 | Current rating in the air: 38 | Outer diameter: 15.4 | Total weight: 183
2x16 RM
max. conductor-resistance: 1.910 | min. breaking load of conductor strand: 2.3 | Current rating in the air: 72 | Outer diameter: 14.8 | Total weight: 129
2x16 RN + 2x1.5 RE
max. conductor-resistance: 1.910/12.100 | min. breaking load of conductor strand: 2.3 | Current rating in the air: 72 | Outer diameter: 14.8 | Total weight: 176
4x16 RM
max. conductor-resistance: 1.910 | min. breaking load of conductor strand: 2.3 | Current rating in the air: 72 | Outer diameter: 17.8 | Total weight: 257
4x16 RN + 2x1.5 RE
max. conductor-resistance: 1.910/12.100 | min. breaking load of conductor strand: 2.3 | Current rating in the air: 72 | Outer diameter: 17.8 | Total weight: 304
2x25 RM
max. conductor-resistance: 1.200 | min. breaking load of conductor strand: 3.8 | Current rating in the air: 107 | Outer diameter: 18.0 | Total weight: 202
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\17_abc-nfc-33-209\01_main_html-124.jpg

## Slide 38
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · ABC NFC 33-209
NexPro Product Intelligence · Project configurations are confirmed through RFQ
38
ABC NFC 33-209
Source Specification Table 1
Table page 1/4
Number of cores x nominal cross section
max. conductor-resistance
min. breaking load of conductor strand
Current rating in the air
Outer diameter
Total weight
mm^2
Ohm/km
kN
A
mm
kg/km
2x10 RM
3.080
1.5
38
12.8
93
4x10 RM
3.080
1.5
38
15.4
183
2x16 RM
1.910
2.3
72
14.8
129
2x16 RN + 2x1.5 RE
1.910/12.100
2.3
72
14.8
176
4x16 RM
1.910
2.3
72
17.8
257
4x16 RN + 2x1.5 RE
1.910/12.100
2.3
72
17.8
304
2x25 RM
1.200
3.8
107
18.0
202
2x25 RM + 2x1,5 RE
1.200/12.100
3.8
107
18.0
249
4x25 RM
1.200
3.8
107
21.7
404
4x25 RM + 2x1,5 RE
1.200/12.100
3.8
107
21.7
451
2x35 RM
0.868
5.2
132
20.8
269
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\17_abc-nfc-33-209\01_main_html-124.jpg

## Slide 39
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · ABC NFC 33-209
NexPro Product Intelligence · Project configurations are confirmed through RFQ
39
ABC NFC 33-209
Source Specification Table 1
Table page 2/4
Number of cores x nominal cross section
max. conductor-resistance
min. breaking load of conductor strand
Current rating in the air
Outer diameter
Total weight
2x35 RM + 2x1,5 RE
0.868/12.100
5.2
132
20.8
316
4x35 RM
0.868
5.2
132
25.1
539
4x35 RM + 2x1,5 RE
0.868/12.100
5.2
132
25.1
586
2x50 RM
0.641
7.6
165
23.4
352
2x35 RM + 2x1,5 RE
0.868/12.100
5.2
132
20.8
316
4x35 RM
0.868
5.2
132
25.1
539
4x35 RM + 2x1,5 RE
0.868/12.100
5.2
132
25.1
586
2x50 RM
0.641
7.6
165
23.4
352
2x50 RM + 2x1,5 RE
0.641/12.100
7.6
165
23.4
399
1x54.6 RM + 3x25 RM
0.630/1.200
3.8
107
21.7
507
1x54.6 RM + 3x25 RM + 1x16 RM
0.630/1.200/1.910
3.8/2.3
107/72
24.3
573
1x54.6 RM + 3x25 RM + 2x16 RM
0.630/1.200/1.910
3.8/2.3
107/72
29.7
639
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\17_abc-nfc-33-209\01_main_html-124.jpg

## Slide 40
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · ABC NFC 33-209
NexPro Product Intelligence · Project configurations are confirmed through RFQ
40
ABC NFC 33-209
Source Specification Table 1
Table page 3/4
Number of cores x nominal cross section
max. conductor-resistance
min. breaking load of conductor strand
Current rating in the air
Outer diameter
Total weight
1x54.6 RM + 3x25 RM + 3x16 RM
0.630/1.200/1.910
3.8/2.3
107/72
31.1
705
1x54.6 RM + 3x35 RM
0.630/0.868
5.2
132
25.1
615
1x54.6 RM + 3x35 RM + 1x16 RM
0.630/0.868/1.910
5.2/2.3
132/72
28.1
680
1x54.6 RM + 3x35 RM + 2x16 RM
0.630/0.868/1.910
5.2/2.3
132/72
34.3
748
1x54.6 RM + 3x35 RM + 3x16 RM
0.630/0.868/1.910
5.2/2.3
132/72
35.9
814
1x54.6 RM + 3x35 RM + 1x25 RM
0.630/0.868/1.200
5.2/3.8
132/107
28.1
714
1x54.6 RM + 3x50 RM
0.630/0.641
7.6
165
28.2
741
1x54.6 RM + 3x50 RM + 1x16 RM
0.630/0.641/1.910
7.6/2.3
165/72
31.6
806
1x54.6 RM + 3x50 RM + 2x16 RM
0.630/0.641/1.910
7.6/2.3
165/72
38.6
875
1x54.6 RM + 3x50 RM + 3x16 RM
0.630/0.641/1.910
7.6/2.3
165/72
40.4
940
1x54.6 RM + 3x50 RM + 1x25 RM
0.630/0.641/1.200
7.6/3.8
165/107
31.6
841
1x54.6 RM + 3x70 RM
0.630/0.443
10.2
205
33.0
950
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\17_abc-nfc-33-209\01_main_html-124.jpg

## Slide 41
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · ABC NFC 33-209
NexPro Product Intelligence · Project configurations are confirmed through RFQ
41
ABC NFC 33-209
Source Specification Table 1
Table page 4/4
Number of cores x nominal cross section
max. conductor-resistance
min. breaking load of conductor strand
Current rating in the air
Outer diameter
Total weight
1x54.6 RM + 3x70 RM + 1x16 RM
0.630/0.443/1.910
10.2/2.3
205/72
37.0
1014
1x54.6 RM + 3x70 RM + 2x16 RM
0.630/0.443/1.910
10.2/2.3
205/72
45.2
1083
1x54.6 RM + 3x70 RM + 3x16 RM
0.630/0.443/1.910
10.2/2.3
205/72
47.3
1148
1x54.6 RM + 3x70 RM + 1x25 RM
0.630/0.443/1.200
10.2/3.8
205/107
37.0
1048
1x54.6 RM + 3x70 RM + 2x25 RM
0.630/0.443/1.200
10.2/3.8
205/107
45.2
1150
1x54.6 RM + 3x70 RM + 3x25 RM
0.630/0.443/1.200
10.2/3.8
205/107
47.3
1250
1x54.6 RM + 3x95 RM
0.630/0.320
13.5
240
37.4
1176
1x54.6 RM + 3x95 RM + 1x16 RM
0.630/0.320/1.910
13.5/2.3
240/72
41.9
1243
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\17_abc-nfc-33-209\01_main_html-124.jpg

## Slide 42
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · NYY · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
42
NYY
NYY 0.6/1 kV PVC Power Cable
Approved parameters 1–11 of 11
PARAMETER
APPROVED SPECIFICATION
Cable category
Low-voltage power cable
Catalog model
NYY
Configuration
Select from source table
Manufacturer models
NYY
Nominal voltage Uo/U
Specified value: | Value 2: [V] | Value 3: 600 / 1000 Volt
Test voltage
Specified value: | Value 2: [V]_{AC} | Value 3: 4000
Temperature range
Specified value: in motion | Value 2: | Value 3: - 5°C till +70°C
fixed
Specified value: | Value 2: -20°C till +70°C | Value 3: —
Bending radius
Specified value: single-core style | Value 2: x diameter | Value 3: 15
multi-core style
Specified value: x diameter | Value 2: 12 | Value 3: —
Flammability
Specified value: standard | Value 2: | Value 3: EN 60332-1-2
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\19_nyy\01_main_html-134.jpg

## Slide 43
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NYY
NexPro Product Intelligence · Project configurations are confirmed through RFQ
43
NYY
Technical data:
Table page 1/1
Parameter
Specified value
Value 2
Value 3
Nominal voltage Uo/U
Not provided
[V]
600 / 1000 Volt
Test voltage
Not provided
[V]_{AC}
4000
Temperature range
in motion
Not provided
- 5°C till +70°C
fixed
Not provided
-20°C till +70°C
—
Bending radius
single-core style
x diameter
15
multi-core style
x diameter
12
—
Flammability
standard
Not provided
EN 60332-1-2
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\19_nyy\01_main_html-134.jpg

## Slide 44
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NYY
NexPro Product Intelligence · Project configurations are confirmed through RFQ
44
NYY
Source Specification Table 2
Table page 1/2
Number of cores and nominal cross section
Copper figure
Overall diameter
Weight
Current carrying capacity ground
Current carrying capacity air
mm^2
kg/km
appr. mm
kg/km
A
A
1 x 4 RE
38,4
8
120
50
37
1 x 6 RE
57,6
9
131
62
47
1 x 10 RE
96,0
10
171
83
64
1 x 16 RE
153,6
11
233
107
84
1 x 25 RM
240,0
12
370
138
114
1 x 35 RM
336,0
14
480
164
139
1 x 50 RM
480,0
16
640
195
169
1 x 70 RM
672,0
17
850
238
213
1 x 95 RM
912,0
19
1.120
286
264
1 x 120 RM
1.152,0
21
1.375
325
307
1 x 150 RM
1.440,0
23
1.660
365
352
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\19_nyy\01_main_html-134.jpg

## Slide 45
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NYY
NexPro Product Intelligence · Project configurations are confirmed through RFQ
45
NYY
Source Specification Table 2
Table page 2/2
Number of cores and nominal cross section
Copper figure
Overall diameter
Weight
Current carrying capacity ground
Current carrying capacity air
1 x 185 RM
1.776,0
25
2.050
413
406
1 x 240 RM
2.304,0
28
2.634
479
483
1 x 300 RM
2.880,0
30
3.295
541
557
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\19_nyy\01_main_html-134.jpg

## Slide 46
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
46
N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
N2XY 0.6/1 kV XLPE/PVC Power Cable
Approved parameters 1–11 of 11
PARAMETER
APPROVED SPECIFICATION
Cable category
Low-voltage power cable
Catalog model
N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
Configuration
Select from source table
Manufacturer models
N2XY-J / N2XY-O / N2XY-JZ / N2XY-OZ
Source parameter
With protective conductor: N2XY-J | Without protective conductor: N2XY-O; With protective conductor: N2XY-JZ | Without protective conductor: N2XY-OZ
1
With protective conductor: gn/ye | Without protective conductor: bk
2
With protective conductor: - | Without protective conductor: bu, bn
3
With protective conductor: gn/ye, bu, bn | Without protective conductor: bn, bk, gy
4
With protective conductor: gn/ye, bn, bk, gy | Without protective conductor: bu, bn, bk, gy
5
With protective conductor: gn/ye, bu, bn, bk, gy | Without protective conductor: bu, bn, bk, gy, bk
>5
With protective conductor: gn/ye, black cores with white numbering | Without protective conductor: black cores with white numbering
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\21_n2xy\01_main_html-139.jpg

## Slide 47
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
NexPro Product Intelligence · Project configurations are confirmed through RFQ
47
N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
Source Specification Table 1
Table page 1/1
Number of cores
With protective conductor
Without protective conductor
Not provided
N2XY-J
N2XY-O
1
gn/ye
bk
2
-
bu, bn
3
gn/ye, bu, bn
bn, bk, gy
4
gn/ye, bn, bk, gy
bu, bn, bk, gy
5
gn/ye, bu, bn, bk, gy
bu, bn, bk, gy, bk
Not provided
N2XY-JZ
N2XY-OZ
>5
gn/ye, black cores with white numbering
black cores with white numbering
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\21_n2xy\01_main_html-139.jpg

## Slide 48
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · VV · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
48
VV
VV PVC Insulated PVC Sheathed Power Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Low-voltage power cable
Catalog model
VV
Configuration
Select from source table
Manufacturer models
VV
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\31_vv-cable\01_main_html-186.jpg

## Slide 49
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · FLRY-B · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
49
FLRY-B
FLRY-B Thin-Wall Automotive Wire
Approved parameters 1–12 of 12
PARAMETER
APPROVED SPECIFICATION
Cable category
Automotive cable
Catalog model
FLRY-B
Configuration
Select from source table
Manufacturer models
FLRY-B
Nominal Cross-section
Conductor: No. and Dia. of Wires | Insulation: Diameter max. | Cable: Resistance at 20°C Bare/Tinned max.
mm^2
Conductor: No./mm | Insulation: mm | Cable: mΩ/m
1x0.35
Conductor: 12/0.21 | Insulation: 0.90 | Cable: 52.00/5.50
1x0.50
Conductor: 16/0.21 | Insulation: 1.00 | Cable: 37.10/38.20
1x0.75
Conductor: 24/0.21 | Insulation: 1.20 | Cable: 24.70/25.40
1x1.00
Conductor: 32/0.21 | Insulation: 1.35 | Cable: 18.50/19.10
1x1.50
Conductor: 30/0.26 | Insulation: 1.70 | Cable: 12.70/13.00
1x2.00
Conductor: 30/0.31 | Insulation: 1.90 | Cable: 9.31/9.59
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\20_flry-b\01_main_html-137.jpg

## Slide 50
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · FLRY-B
NexPro Product Intelligence · Project configurations are confirmed through RFQ
50
FLRY-B
Source Specification Table 1
Table page 1/2
Column 1
Conductor
Insulation
Cable
Nominal Cross-section
No. and Dia. of Wires
Diameter max.
Resistance at 20°C Bare/Tinned max.
mm^2
No./mm
mm
mΩ/m
1x0.35
12/0.21
0.90
52.00/5.50
1x0.50
16/0.21
1.00
37.10/38.20
1x0.75
24/0.21
1.20
24.70/25.40
1x1.00
32/0.21
1.35
18.50/19.10
1x1.50
30/0.26
1.70
12.70/13.00
1x2.00
30/0.31
1.90
9.31/9.59
1x2.50
50/0.26
2.20
7.60/7.80
1x3.00
45/0.31
2.40
6.21/6.40
1x4.00
56/0.31
2.75
4.70/4.80
1x6.00
84/0.31
3.30
3.10/3.20
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\20_flry-b\01_main_html-137.jpg

## Slide 51
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · FLRY-B
NexPro Product Intelligence · Project configurations are confirmed through RFQ
51
FLRY-B
Source Specification Table 1
Table page 2/2
Column 1
Conductor
Insulation
Cable
1x10.00
80/0.41
4.50
1.82/1.85
1x16.00
126/0.41
6.30
1.16/1.18
1x25.00
196/0.41
7.80
0.74/0.76
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\20_flry-b\01_main_html-137.jpg

## Slide 52
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · N2XH-J · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
52
N2XH-J
N2XH-J LSZH Low-Voltage Power Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
LSZH power cable
Catalog model
N2XH-J
Configuration
Select from source table
Manufacturer models
N2XH-J
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\22_n2xh-j\01_main_html-147.jpg

## Slide 53
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · NHXH E90 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
53
NHXH E90
NHXH E90 Halogen-Free Fire-Resistant Cable
Approved parameters 1–11 of 11
PARAMETER
APPROVED SPECIFICATION
Cable category
Fire-resistant safety cable
Catalog model
NHXH E90
Configuration
Select from source table
Manufacturer models
NHXH E90
Test voltage
Column 2: | [V]: [V]_{AC} | 600 / 1000 Volt: 4000
Temperature range
Column 2: in motion | [V]: | 600 / 1000 Volt: -5°C till +90°C
Operating temperature
Column 2: short circuit | [V]: °C | 600 / 1000 Volt: 250
Short circuit time
Column 2: max. | [V]: [sec] | 600 / 1000 Volt: 5
Bending radius
Column 2: single core style | [V]: x diameter | 600 / 1000 Volt: 15
multi core style
Column 2: x diameter | [V]: 12 | 600 / 1000 Volt: —
Flammability
Column 2: standard | [V]: | 600 / 1000 Volt: EN 50266-2-4IEC 60332-3 Kat.C
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\23_nhxh-e90\01_main_html-149.jpg

## Slide 54
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NHXH E90
NexPro Product Intelligence · Project configurations are confirmed through RFQ
54
NHXH E90
Source Specification Table 1
Table page 1/1
Nominal voltage Uo/U
Column 2
[V]
600 / 1000 Volt
Test voltage
Not provided
[V]_{AC}
4000
Temperature range
in motion
Not provided
-5°C till +90°C
Operating temperature
short circuit
°C
250
Short circuit time
max.
[sec]
5
Bending radius
single core style
x diameter
15
multi core style
x diameter
12
—
Flammability
standard
Not provided
EN 50266-2-4IEC 60332-3 Kat.C
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\23_nhxh-e90\01_main_html-149.jpg

## Slide 55
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NHXH E90
NexPro Product Intelligence · Project configurations are confirmed through RFQ
55
NHXH E90
Source Specification Table 2
Table page 1/1
Number of cores and nominal cross section mm^2
Copper figure kg/km
Overall diameter appr.mm
Calorific potential kWh/m
Weight appr. kg/km
1 x 16 RM
160
10,5
0,42
250
1 x 25 RM
250
12,5
0,53
355
1 x 35 RM
350
13,5
0,60
460
1 x 50 RM
500
15,0
0,69
596
1 x 70 RM
700
16,5
0,83
810
1 x 95 RM
950
19,0
1,06
1.100
1 x 120 RM
1.200
20,5
1,15
1.350
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\23_nhxh-e90\01_main_html-149.jpg

## Slide 56
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · NHXMH · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
56
NHXMH
NHXMH Halogen-Free Sheathed Installation Cable
Approved parameters 1–11 of 11
PARAMETER
APPROVED SPECIFICATION
Cable category
Halogen-free installation cable
Catalog model
NHXMH
Configuration
Select from source table
Manufacturer models
NHXMH
Test voltage
Column 2: | [V]: [V]_{AC} | 300 / 500 Volt: 2000 | Column 5:
Temperature range
Column 2: in motion | [V]: | 300 / 500 Volt: -5°C till +70°C | Column 5:
Operating temperature
Column 2: short circuit | [V]: °C | 300 / 500 Volt: 160 | Column 5:
Short circuit time
Column 2: max. | [V]: [sec] | 300 / 500 Volt: 5 | Column 5:
Bending radius
Column 2: in motion | [V]: x diameter | 300 / 500 Volt: 12 | Column 5:
Flammability
Column 2: standard | [V]: | 300 / 500 Volt: EN 50266-2-4 | Column 5:
Source parameter
Column 2: | [V]: | 300 / 500 Volt: EN 60332-1 | Column 5:; Column 2: | [V]: | 300 / 500 Volt: IEC 60332-3 Kat.C | Column 5:
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\24_nhxmh\01_main_html-150.jpg

## Slide 57
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NHXMH
NexPro Product Intelligence · Project configurations are confirmed through RFQ
57
NHXMH
Source Specification Table 1
Table page 1/3
Nominal voltage Uo/U
Column 2
[V]
300 / 500 Volt
Column 5
Test voltage
Not provided
[V]_{AC}
2000
Not provided
Temperature range
in motion
Not provided
-5°C till +70°C
Not provided
Operating temperature
short circuit
°C
160
Not provided
Short circuit time
max.
[sec]
5
Not provided
Bending radius
in motion
x diameter
12
Not provided
Flammability
standard
Not provided
EN 50266-2-4
Not provided
Not provided
Not provided
Not provided
EN 60332-1
Not provided
Not provided
Not provided
Not provided
IEC 60332-3 Kat.C
Not provided
Number of cores and nominal cross section mm^2
Not provided
Copper figurekg/km
Cond. construction (appr. value)mm
Overall diameter appr. mm
2 x 1,5
Not provided
30
1 x 1,38
8,7
2 x 2,5
Not provided
50
1 x 1,38
9,5
3 x 1,5
Not provided
45
1 x 1,38
9,1
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\24_nhxmh\01_main_html-150.jpg

## Slide 58
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NHXMH
NexPro Product Intelligence · Project configurations are confirmed through RFQ
58
NHXMH
Source Specification Table 1
Table page 2/3
Nominal voltage Uo/U
Column 2
[V]
300 / 500 Volt
Column 5
3 x 2,5
Not provided
75
1 x 1,78
9,9
3 x 4
Not provided
120
1 x 2,25
11,2
3 x 6
Not provided
180
1 x 2,76
12,7
3 x 10
Not provided
300
1 x 3,56
15,3
4 x 1,5
Not provided
60
1 x 1,38
9,7
4 x 2,5
Not provided
100
1 x 1,78
10,6
4 x 4
Not provided
160
1 x 2,25
12,5
4 x 6
Not provided
240
1 x 2,76
13,7
4 x 10
Not provided
400
1 x 3,56
16,5
4 x 16 RM
Not provided
640
7 x 1,70
19,4
5 x 1,5
Not provided
75
1 x 1,38
10,4
5 x 2,5
Not provided
125
1 x 1,78
11,5
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\24_nhxmh\01_main_html-150.jpg

## Slide 59
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Engineering table · NHXMH
NexPro Product Intelligence · Project configurations are confirmed through RFQ
59
NHXMH
Source Specification Table 1
Table page 3/3
Nominal voltage Uo/U
Column 2
[V]
300 / 500 Volt
Column 5
5 x 4
Not provided
200
1 x 2,25
13,5
5 x 6
Not provided
300
1 x 2,76
15,3
Approved engineering table reproduced from the product source record without inferred values.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\24_nhxmh\01_main_html-150.jpg

## Slide 60
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · 60227 IEC 01 (BV) · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
60
60227 IEC 01 (BV)
BV PVC Insulated Solid Copper Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
House wire
Catalog model
60227 IEC 01 (BV)
Configuration
Select from source table
Manufacturer models
60227 IEC 01 (BV)
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\25_bv-wire\01_main.png

## Slide 61
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · BVR · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
61
BVR
BVR PVC Insulated Flexible Copper Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
House wire
Catalog model
BVR
Configuration
Select from source table
Manufacturer models
BVR
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\26_bvr-wire\01_main.png

## Slide 62
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · 60227 IEC 02 (RV) | 60227 IEC 06 (RV) · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
62
60227 IEC 02 (RV) | 60227 IEC 06 (RV)
RV PVC Insulated Flexible Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Flexible wire
Catalog model
60227 IEC 02 (RV) | 60227 IEC 06 (RV)
Configuration
Select from source table
Manufacturer models
60227 IEC 02 (RV) / 60227 IEC 06 (RV)
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\27_rv-wire\01_main.png

## Slide 63
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · BVVB · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
63
BVVB
BVVB Flat PVC Insulated and Sheathed Wire
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Flat sheathed house wire
Catalog model
BVVB
Configuration
Select from source table
Manufacturer models
BVVB
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\28_bvvb-wire\01_main.png

## Slide 64
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · YC | YCW | MY | MYPTJ | MYPT | MCPT | MCP · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
64
YC | YCW | MY | MYPTJ | MYPT | MCPT | MCP
Mining and Heavy-Duty Rubber Cable Series
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Mining cable
Catalog model
YC | YCW | MY | MYPTJ | MYPT | MCPT | MCP
Configuration
Select from source table
Manufacturer models
YC / YCW / MY / MYPTJ / MYPT / MCPT / MCP
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\30_mining-rubber-cables\01_main_html-176.jpg

## Slide 65
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · YJV · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
65
YJV
YJV Copper XLPE Insulated PVC Sheathed Power Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
XLPE power cable
Catalog model
YJV
Configuration
Select from source table
Manufacturer models
YJV
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\32_yjv-cable\01_main_html-194.jpg

## Slide 66
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · YJV22 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
66
YJV22
YJV22 Copper XLPE Insulated Steel Tape Armoured Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Armoured XLPE power cable
Catalog model
YJV22
Configuration
Select from source table
Manufacturer models
YJV22
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\33_yjv22-cable\01_main.png

## Slide 67
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · YJLV · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
67
YJLV
YJLV Aluminum XLPE Insulated PVC Sheathed Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Aluminum XLPE power cable
Catalog model
YJLV
Configuration
Select from source table
Manufacturer models
YJLV
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\34_yjlv-cable\01_main_html-193.jpg

## Slide 68
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical data · YJLV22 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
68
YJLV22
YJLV22 Aluminum XLPE Insulated Steel Tape Armoured Cable
Approved parameters 1–6 of 6
PARAMETER
APPROVED SPECIFICATION
Cable category
Armoured aluminum power cable
Catalog model
YJLV22
Configuration
Select from source table
Manufacturer models
YJLV22
Specification status
No numeric source table was published for this product family
Selection guidance
Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ.
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\cable-catalog\35_yjlv22-cable\01_main.png

## Slide 69
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Technical selection snapshot
NexPro Product Intelligence · Project configurations are confirmed through RFQ
69
Exact model
H05V-U | H07V-U
H05RN-F
N2XH-J
YJLV22
Product
H05V-U / H07V-U PVC Insulated Solid Building Wire
H05RN-F Oil-Resistant Rubber Cable
N2XH-J LSZH Low-Voltage Power Cable
YJLV22 Aluminum XLPE Insulated Steel Tape Armoured Cable
Key specification 1
Cable category: Single-core building wire
Cable category: Rubber flexible cable
Cable category: LSZH power cable
Cable category: Armoured aluminum power cable
Key specification 2
Catalog model: H05V-U | H07V-U
Catalog model: H05RN-F
Catalog model: N2XH-J
Catalog model: YJLV22
Application fit
Building wiring · Electrical panels · Fixed installat…
Industrial equipment · Mobile machinery · Demanding f…
Public buildings · Emergency circuits · Low-smoke ins…
Low-voltage distribution · Industrial power projects…
Use the detailed Word specification documents for complete approved attributes and family variant tables.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 70
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Approved model register
NexPro Product Intelligence · Project configurations are confirmed through RFQ
70
H05V-U | H07V-U
H05V-R | H07V-R
H05V-K
H07V-K
H05Z-R | H07Z-R
H07Z1-U
H03VV-F
H05VV-F
60227 IEC 53 (RVV) | RVV
H01N2-D
H05RR-F
H05RN-F
H07RN-F
624-Y
NYM-J | NYM-O
PV Solar Cable
SPT-1 | SPT-2 | SPT-3
TW
ABC NFC 33-209
NYY
N2XY-J | N2XY-O | N2XY-JZ | N2XY-OZ
VV
FLRY-B
N2XH-J
NHXH E90
NHXMH
60227 IEC 01 (BV)
BVR
60227 IEC 02 (RV) | 60227 IEC 06 (RV)
BVVB
YC | YCW | MY | MYPTJ | MYPT | MCPT | MCP
YJV
YJV22
YJLV
YJLV22
35 exact website model records shown on this page · 35 total for this product line
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts

## Slide 71
CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS
Procurement and RFQ checklist
NexPro Product Intelligence · Project configurations are confirmed through RFQ
71
01
Quantity & mix
Confirm by cable type, size and length
02
Lead time
Confirm after specification review
03
Shipping basis
Confirm in project quotation
04
OEM / ODM
To be confirmed
Include in your inquiry
Exact model or required function
Estimated quantity
Destination country or port
Required interfaces / accessories
Documentation and OEM/ODM needs
Final configuration, availability and commercial terms are confirmed in the project quotation.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 72
READY FOR THE PROJECT LIST
Share your requirements.
We will shortlist the right models.
Cable & Wire for Electrical, ELV and Industrial Projects
REQUEST A PROJECT QUOTATION
NexPro · 72
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0304\assets\nexpro-technical-background-v1.png