CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS

# H01N2-D Welding Cable

Models: H01N2-D | H05RR-F | H05RN-F | H07RN-F

PRODUCT IMAGES

| H01N2-D · Primary | H05RR-F · Primary | H05RN-F · Primary | H07RN-F · Primary |
| --- | --- | --- | --- |

PRODUCT OVERVIEW

NexPro H01N2-D Welding Cable is supplied as a configurable rubber flexible cable product family. Catalog models are preserved exactly as H01N2-D. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.

| Product line | Cable & Wire for Electrical, ELV and Industrial Projects |
| --- | --- |
| Series / family | Rubber flexible cable |
| Exact model | H01N2-D ¦ H05RR-F ¦ H05RN-F ¦ H07RN-F |
| Applications | Industrial equipment, Mobile machinery, Demanding flexible installations |

MODEL COMPARISON

| Exact model | Product / variant | Cable category | Catalog model | Configuration |
| --- | --- | --- | --- | --- |
| H01N2-D | H01N2-D Welding Cable | Rubber flexible cable | H01N2-D | Select from source table |
| H05RR-F | H05RR-F Ordinary Duty Rubber Cable | Rubber flexible cable | H05RR-F | Select from source table |
| H05RN-F | H05RN-F Oil-Resistant Rubber Cable | Rubber flexible cable | H05RN-F | Select from source table |
| H07RN-F | H07RN-F Heavy Duty Rubber Trailing Cable | Rubber flexible cable | H07RN-F | Select from source table |

TECHNICAL SPECIFICATIONS

| Parameter | H01N2-D | H05RR-F | H05RN-F | H07RN-F |
| --- | --- | --- | --- | --- |
| Cable category | Rubber flexible cable | Rubber flexible cable | Rubber flexible cable | Rubber flexible cable |
| Catalog model | H01N2-D | H05RR-F | H05RN-F | H07RN-F |
| Configuration | Select from source table | Select from source table | Select from source table | Select from source table |
| Manufacturer models | H01N2-D | H05RR-F | H05RN-F | H07RN-F |
| 10 | Nom. Insulation Thickness (mm): 2 ¦ Nom. outer diam. (mm): 9 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 1.91 ¦ Approx.weight (kg/km): 165 | Not provided | Not provided | Not provided |
| 16 | Nom. Insulation Thickness (mm): 2 ¦ Nom. outer diam. (mm): 10 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 1.21 ¦ Approx.weight (kg/km): 202 | Not provided | Not provided | Not provided |
| 25 | Nom. Insulation Thickness (mm): 2 ¦ Nom. outer diam. (mm): 11.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.78 ¦ Approx.weight (kg/km): 299 | Not provided | Not provided | Not provided |
| 35 | Nom. Insulation Thickness (mm): 2 ¦ Nom. outer diam. (mm): 12.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.554 ¦ Approx.weight (kg/km): 395 | Not provided | Not provided | Not provided |
| 50 | Nom. Insulation Thickness (mm): 2.2 ¦ Nom. outer diam. (mm): 14.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.386 ¦ Approx.weight (kg/km): 540 | Not provided | Not provided | Not provided |
| 70 | Nom. Insulation Thickness (mm): 2.4 ¦ Nom. outer diam. (mm): 16.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.272 ¦ Approx.weight (kg/km): 752 | Not provided | Not provided | Not provided |
| 95 | Nom. Insulation Thickness (mm): 2.6 ¦ Nom. outer diam. (mm): 18.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.206 ¦ Approx.weight (kg/km): 988 | Not provided | Not provided | Not provided |
| 120 | Nom. Insulation Thickness (mm): 2.8 ¦ Nom. outer diam. (mm): 20.5 ¦ Max. Resistance of Conductor @ 20°C (Ω/Km): 0.161 ¦ Approx.weight (kg/km): 1227 | Not provided | Not provided | Not provided |
| Specification status | Not provided | No numeric source table was published for this product family | No numeric source table was published for this product family | No numeric source table was published for this product family |
| Selection guidance | Not provided | Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ. | Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ. | Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ. |

ENGINEERING TABLES

H01N2-D · Source Specification Table 1

| Cross section (mm²) | Nom. Insulation Thickness (mm) | Nom. outer diam. (mm) | Max. Resistance of Conductor @ 20°C (Ω/Km) | Approx.weight (kg/km) |
| --- | --- | --- | --- | --- |
| 10 | 2 | 9 | 1.91 | 165 |
| 16 | 2 | 10 | 1.21 | 202 |
| 25 | 2 | 11.5 | 0.78 | 299 |
| 35 | 2 | 12.5 | 0.554 | 395 |
| 50 | 2.2 | 14.5 | 0.386 | 540 |
| 70 | 2.4 | 16.5 | 0.272 | 752 |
| 95 | 2.6 | 18.5 | 0.206 | 988 |
| 120 | 2.8 | 20.5 | 0.161 | 1227 |
| 150 | 3 | 23 | 0.129 | 1529 |