CABLE & WIRE FOR ELECTRICAL, ELV AND INDUSTRIAL PROJECTS

# H05Z-R / H07Z-R LSZH Insulated Wire

Models: H05Z-R | H07Z-R | H07Z1-U

PRODUCT IMAGES

| H05Z-R ¦ H07Z-R · Primary | H07Z1-U · Primary |
| --- | --- |

PRODUCT OVERVIEW

NexPro H05Z-R / H07Z-R LSZH Insulated Wire is supplied as a configurable low-smoke zero-halogen wire product family. Catalog models are preserved exactly as H05Z-R, H07Z-R. Use the source-derived tables below to select the required conductor construction, core arrangement, cross-section and dimensions.

| Product line | Cable & Wire for Electrical, ELV and Industrial Projects |
| --- | --- |
| Series / family | Low-smoke zero-halogen wire |
| Exact model | H05Z-R ¦ H07Z-R ¦ H07Z1-U |
| Applications | Public buildings, Emergency circuits, Low-smoke installation projects |

MODEL COMPARISON

| Exact model | Product / variant | Cable category | Catalog model | Configuration |
| --- | --- | --- | --- | --- |
| H05Z-R ¦ H07Z-R | H05Z-R / H07Z-R LSZH Insulated Wire | Low-smoke zero-halogen wire | H05Z-R ¦ H07Z-R | Select from source table |
| H07Z1-U | H07Z1-U LSZH Solid Building Wire | Low-smoke zero-halogen wire | H07Z1-U | Select from source table |

TECHNICAL SPECIFICATIONS

| Parameter | H05Z-R ¦ H07Z-R | H07Z1-U |
| --- | --- | --- |
| Cable category | Low-smoke zero-halogen wire | Low-smoke zero-halogen wire |
| Catalog model | H05Z-R ¦ H07Z-R | H07Z1-U |
| Configuration | Select from source table | Select from source table |
| Manufacturer models | H05Z-R / H07Z-R | H07Z1-U |
| Specification status | No numeric source table was published for this product family | Not provided |
| Selection guidance | Confirm the exact model, voltage rating, conductor or core configuration, cross-section, installation conditions, required length and applicable project requirements in the RFQ. | Not provided |
| 1.5 | Not provided | Nominal Thickness of insulation (mm): 0.7 ¦ MAX. Resistance of conductor at 70°C (MΩ): 0.011 ¦ Nom. outer diam. (mm): 2.6-3.2 ¦ Approx. weight (kg/km): 21 |
| 2.5 | Not provided | Nominal Thickness of insulation (mm): 0.8 ¦ MAX. Resistance of conductor at 70°C (MΩ): 0.010 ¦ Nom. outer diam. (mm): 3.2-3.9 ¦ Approx. weight (kg/km): 35 |
| 4 | Not provided | Nominal Thickness of insulation (mm): 0.8 ¦ MAX. Resistance of conductor at 70°C (MΩ): 0.0087 ¦ Nom. outer diam. (mm): 3.6-4.4 ¦ Approx. weight (kg/km): 44 |
| 6 | Not provided | Nominal Thickness of insulation (mm): 0.8 ¦ MAX. Resistance of conductor at 70°C (MΩ): 0.0074 ¦ Nom. outer diam. (mm): 4.1-5.0 ¦ Approx. weight (kg/km): 66 |

ENGINEERING TABLES

H07Z1-U · Source Specification Table 1

| Cross section (mm²) | Nominal Thickness of insulation (mm) | MAX. Resistance of conductor at 70°C (MΩ) | Nom. outer diam. (mm) | Approx. weight (kg/km) |
| --- | --- | --- | --- | --- |
| 1.5 | 0.7 | 0.011 | 2.6-3.2 | 21 |
| 2.5 | 0.8 | 0.010 | 3.2-3.9 | 35 |
| 4 | 0.8 | 0.0087 | 3.6-4.4 | 44 |
| 6 | 0.8 | 0.0074 | 4.1-5.0 | 66 |