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	PRODUCT SPECIFICATION
Standalone model


[image: ]
CCTV & SURVEILLANCE SYSTEM
NexPro 4MP Dual-Lens Starlight Full-Color Bullet (AI, Two-Way Audio)
Exact model: NexPro-DL9018WZ-DJ
PRODUCT IMAGES
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	NexPro-DL9018WZ-DJ · Primary



PRODUCT OVERVIEW
Dual-lens fusion, Starlight full-color night vision, Hisilicon AI chip, human/vehicle detection, two-way audio
	Product line
	CCTV & Surveillance System

	Series / family
	Standalone model

	Exact model
	NexPro-DL9018WZ-DJ

	Applications
	Perimeter, Loading Dock, Industrial, Entrance


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	Lens 1
	AI

	NexPro-DL9018WZ-DJ
	NexPro 4MP Dual-Lens Starlight Full-Color Bullet (AI, Two-Way Audio)
	4MP Dual-Lens
	F1.0 blue-wave
	Hisilicon chip


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	4MP Dual-Lens

	Lens 1
	F1.0 blue-wave

	AI
	Hisilicon chip

	Camera Type
	4MP Dual-Lens Starlight Full-Color Network Bullet Camera

	Solution
	Tianview TB53Q52

	Processor
	Hisilicon AI super-computing chip

	Image Sensor
	1/2.7″ 4MP ultra-low-light Starlight CMOS

	Lens 1 (Full-Color)
	F1.0 5MP blue-wave lens — day-like full-color at night, no motion blur

	Lens 2 (IR + Supplement)
	F1.4 5MP lens — long-range IR + smart white light, dual-light fusion

	Dual-Lens Fusion
	Combines full-color detail with IR distance for perfect night imaging

	AI Features
	Human/vehicle detection, line crossing, intrusion region

	Audio
	Built-in two-way voice intercom

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Perimeter
Loading Dock
Industrial
Entrance
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-DL9018WZ-DJ

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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