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CCTV & SURVEILLANCE SYSTEM
NexPro 4MP Cost-Effective Dual-Light Dome (12-LED, Built-in Mic)
Exact model: NexPro-DM406D3-4MP-TRI
PRODUCT IMAGES
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PRODUCT OVERVIEW
4MP full-color, transistor-based, 12 LEDs, built-in mic, 4000V surge protection
	Product line
	CCTV & Surveillance System

	Series / family
	406

	Exact model
	NexPro-DM406D3-4MP-TRI

	Applications
	Budget Project, Indoor Area, Corridor


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	Lens
	Illuminator

	NexPro-DM406D3-4MP-TRI
	NexPro 4MP Cost-Effective Dual-Light Dome (12-LED, Built-in Mic)
	4MP
	F1.4 5MP fixed
	12-LED dual light


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	4MP (2560×1440) @ real-time

	Lens
	F1.4 5MP fixed lens

	Illuminator
	12-LED dual light (6×20mil IR + 6×1W warm white)

	Camera Type
	4MP Full-Color Dual-Light Network Dome Camera – Cost-Effective Series
(406 Series)

	Solution
	Tianview TR38Y33

	Image Sensor
	1/2.7″ 4MP CMOS, low illumination

	Lamp Board
	Transistor-based circuit design (cost-effective)

	Audio
	Built-in microphone

	Protection
	Metal front cover, 4000V lightning surge protection

	Light Control
	3 switchable modes

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Budget Project
Indoor Area
Corridor
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-DM406D3-4MP-TRI

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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