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CCTV & SURVEILLANCE SYSTEM
NexPro 5MP Ultra-Bright Smart Dual-Light Dome (30-LED, Two-Way Audio & Custom Voice Alert)
Exact model: NexPro-DM406MQ5-5MP-TRI-DJ
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	NexPro-DM406MQ5-5MP-TRI-DJ · Primary



PRODUCT OVERVIEW
5MP full-color, transistor-based, 30 LEDs ultra-bright, two-way audio, custom voice, intelligent alert, 4000V surge protection
	Product line
	CCTV & Surveillance System

	Series / family
	406

	Exact model
	NexPro-DM406MQ5-5MP-TRI-DJ

	Applications
	Large Warehouse, Industrial, Commercial Lobby


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	Lens
	Illuminator

	NexPro-DM406MQ5-5MP-TRI-DJ
	NexPro 5MP Ultra-Bright Smart Dual-Light Dome (30-LED, Two-Way Audio & Custom Voice Alert)
	5MP
	F1.4 5MP fixed
	30-LED ultra-bright


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	5MP (2592×1944) @ real-time

	Lens
	F1.4 5MP fixed lens

	Illuminator
	30-LED ultra-bright dual light
(15×20mil IR + 15×0.5W warm white)

	Camera Type
	5MP Ultra-Bright Smart Full-Color Dual-Light Network Dome Camera
(406 Series)

	Solution
	Tianview TB38M55

	Image Sensor
	1/2.7″ 5MP CMOS, low illumination

	Lamp Board
	Transistor-based circuit design

	Audio
	Built-in microphone and speaker, two-way audio with custom voice messages

	Intelligent Features
	Intelligent perimeter alert

	Protection
	Metal front cover, front heat dissipation, 4000V surge protection

	Light Control
	3 switchable modes

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Large Warehouse
Industrial
Commercial Lobby
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-DM406MQ5-5MP-TRI-DJ

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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