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	PRODUCT SPECIFICATION
Standalone model
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CCTV & SURVEILLANCE SYSTEM
NexPro 4MP Wi-Fi 6 Active Deterrence PTZ (Strobe, AI, 8x Zoom)
Exact model: NexPro-PT6100JT40Y-4MP
PRODUCT IMAGES
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	NexPro-PT6100JT40Y-4MP · Primary



PRODUCT OVERVIEW
4MP, Wi-Fi 6, strobe alarm, AI human/vehicle detection, line crossing, 8x zoom, 256GB SD
	Product line
	CCTV & Surveillance System

	Series / family
	Standalone model

	Exact model
	NexPro-PT6100JT40Y-4MP

	Applications
	Perimeter, Loading Dock, Warehouse


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	AI
	Zoom

	NexPro-PT6100JT40Y-4MP
	NexPro 4MP Wi-Fi 6 Active Deterrence PTZ (Strobe, AI, 8x Zoom)
	4MP
	Human + Vehicle
	8x electronic


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	4MP

	AI
	Human + Vehicle

	Zoom
	8x electronic

	Camera Type
	4MP Wi-Fi 6 Active Deterrence PTZ Camera with AI Analytics

	Solution
	Tianview TD53J61

	Image Sensor
	1/2.7″ 4MP low illumination CMOS

	Lens
	F1.4 5MP starlight lens, 8x electronic zoom

	Illuminator
	12 IR + 12×1W warm white LEDs, 15-LED dual-light

	AI Features
	Human/vehicle detection, line crossing, area intrusion, license plate, face optimization

	Active Deterrence
	Built-in strobe light, multimedia speaker & mic, two-way audio

	PTZ
	355° pan, 90° tilt

	Wireless
	Wi-Fi 6, Bluetooth, RJ45

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Perimeter
Loading Dock
Warehouse
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-PT6100JT40Y-4MP

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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