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CCTV & SURVEILLANCE SYSTEM
NexPro 4MP 10-inch Laser Active Deterrence PTZ (40x Zoom, 150m IR, AI Tracking)
Exact model: NexPro-PTL10-4MP-40X
PRODUCT IMAGES
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	NexPro-PTL10-4MP-40X · Primary



PRODUCT OVERVIEW
4MP, 40x optical zoom, 7 laser IR + 11 warm LEDs, 150m illumination, AI 3-target detection, tracking, area alert, two-way audio, NVR popup, offline push
	Product line
	CCTV & Surveillance System

	Series / family
	PTL10

	Exact model
	NexPro-PTL10-4MP-40X

	Applications
	Large Perimeter, Industrial Compound, Oil & Gas


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	Zoom
	Illuminator

	NexPro-PTL10-4MP-40X
	NexPro 4MP 10-inch Laser Active Deterrence PTZ (40x Zoom, 150m IR, AI Tracking)
	4MP
	40x optical
	Laser IR + Warm LED


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	4MP

	Zoom
	40x optical

	Illuminator
	Laser IR + Warm LED; 7 laser IR LEDs + 11 warm white LEDs, 150m illumination

	Camera Type
	10-inch 4MP Laser Dual-Light Active Deterrence PTZ Camera

	Solution
	Tianview Z20 platform

	Image Sensor
	4MP, H.265 encoding, 25fps

	Lens
	40x optical zoom, F1.6, 4.7mm–84.6mm

	AI Features
	3-target human detection, tracking, line crossing & area intrusion alert, popup, offline push

	Audio
	External speaker support, two-way voice intercom

	Alarm
	NVR popup alert, offline mobile push

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Large Perimeter
Industrial Compound
Oil & Gas
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-PTL10-4MP-40X

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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