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CCTV & SURVEILLANCE SYSTEM
NexPro 5MP 10-inch Full-Color Laser PTZ (25x, 200m, AI Human+Vehicle, TF)
Exact model: NexPro-PTL10-5MP-25X-FC
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	NexPro-PTL10-5MP-25X-FC · Primary



PRODUCT OVERVIEW
5MP, 25x zoom, 15 laser warm LEDs, 200m full-color, AI detection & tracking, onboard TF, voice, NVR popup
	Product line
	CCTV & Surveillance System

	Series / family
	PTL10

	Exact model
	NexPro-PTL10-5MP-25X-FC

	Applications
	Forensic Perimeter, Critical Infrastructure, Port


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Resolution
	Zoom
	Illuminator

	NexPro-PTL10-5MP-25X-FC
	NexPro 5MP 10-inch Full-Color Laser PTZ (25x, 200m, AI Human+Vehicle, TF)
	5MP
	25x optical
	15-laser full-color 200m


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Resolution
	5MP

	Zoom
	25x optical

	Illuminator
	15-laser full-color 200m; 15 high-power laser warm white LEDs, 200m full-color

	Camera Type
	10-inch 5MP Laser Full-Color PTZ Camera

	Solution
	Tianview customized platform

	Image Sensor
	5MP, H.265, 25fps, built-in TF card

	Lens
	25x optical zoom, F1.4, 5.3mm–130mm

	AI Features
	Human & vehicle detection, tracking, line crossing, area intrusion, custom voice, popup, offline push

	Audio
	External speaker support, two-way intercom

	Alarm
	NVR popup, offline push

	Quotation Type
	Bulk project quotation

	OEM/ODM
	Available for selected orders

	Documents
	Datasheet and installation reference

	Category
	CCTV System


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Forensic Perimeter
Critical Infrastructure
Port
	Confirm the exact model and required configuration.
Confirm quantity, destination, packing, branding, and documentation requirements.


Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope
PROJECT CONFIGURATION CHECKLIST
	Exact model
	NexPro-PTL10-5MP-25X-FC

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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