CCTV & SURVEILLANCE SYSTEM

# NexPro 5MP 10-inch Laser PTZ (25x, 200m IR, AI Human+Vehicle Tracking, TF)

Exact model: NexPro-PTL10-5MP-25X

PRODUCT IMAGES

NexPro-PTL10-5MP-25X · Primary

PRODUCT OVERVIEW

5MP, 25x zoom, 10 laser IR + 9 warm LEDs, 200m range, AI human & vehicle detection/tracking, onboard TF, two-way audio, NVR popup

| Product line | CCTV & Surveillance System |
| --- | --- |
| Series / family | PTL10 |
| Exact model | NexPro-PTL10-5MP-25X |
| Applications | Critical Infrastructure, Oil Depot, Logistics Hub |

MODEL IDENTIFICATION

| Exact model | Product / variant | Resolution | Zoom | Illuminator |
| --- | --- | --- | --- | --- |
| NexPro-PTL10-5MP-25X | NexPro 5MP 10-inch Laser PTZ (25x, 200m IR, AI Human+Vehicle Tracking, TF) | 5MP | 25x optical | Laser 200m |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Resolution | 5MP |
| Zoom | 25x optical |
| Illuminator | Laser 200m; 10 laser IR + 9 warm white LEDs, 200m |
| Camera Type | 10-inch 5MP Laser Dual-Light Active Deterrence PTZ with Vehicle AI |
| Solution | Tianview customized platform |
| Image Sensor | 5MP, H.265, 25fps, onboard TF card slot |
| Lens | 25x optical zoom, F1.4, 5.3mm–130mm |
| AI Features | Human & vehicle detection, tracking, line crossing, area intrusion, voice, NVR popup, offline push |
| Audio | External speaker support, two-way voice intercom |
| Alarm | NVR popup, offline push |
| Quotation Type | Bulk project quotation |
| OEM/ODM | Available for selected orders |
| Documents | Datasheet and installation reference |
| Category | CCTV System |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Critical Infrastructure Oil Depot Logistics Hub | Confirm the exact model and required configuration. Confirm quantity, destination, packing, branding, and documentation requirements. |

Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope

PROJECT CONFIGURATION CHECKLIST

| Exact model | NexPro-PTL10-5MP-25X |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |