CCTV & SURVEILLANCE SYSTEM

# 512 Series

Models: NexPro-BL512D3-4MP-DIC | NexPro-BL512M55-5MP-DIC

PRODUCT IMAGES

NexPro-BL512D3-4MP-DIC · Primary

PRODUCT OVERVIEW

4MP full-color, dual-IC lamp, 24 LEDs, built-in mic, 4000V surge protection

| Product line | CCTV & Surveillance System |
| --- | --- |
| Series / family | 512 |
| Exact model | NexPro-BL512D3-4MP-DIC ¦ NexPro-BL512M55-5MP-DIC |
| Applications | Perimeter, Parking, Factory |

MODEL COMPARISON

| Exact model | Product / variant | Resolution | Lens | Illuminator |
| --- | --- | --- | --- | --- |
| NexPro-BL512D3-4MP-DIC | NexPro 4MP Dual-Light Bullet (24-LED, Audio) | 4MP | F1.4 5MP fixed | 24-LED dual light |
| NexPro-BL512M55-5MP-DIC | NexPro 5MP Dual-Light Bullet (24-LED, Audio) | 5MP | F1.4 5MP fixed | 24-LED dual light |

TECHNICAL SPECIFICATIONS

| Parameter | NexPro-BL512D3-4MP-DIC | NexPro-BL512M55-5MP-DIC |
| --- | --- | --- |
| Resolution | 4MP (2560×1440) @ real-time | 5MP (2592×1944) @ real-time |
| Lens | F1.4 5MP fixed lens | F1.4 5MP fixed lens |
| Illuminator | 24-LED dual light (12×20mil IR + 12×0.5W warm white) | 24-LED dual light (12×20mil IR + 12×0.5W warm white) |
| Camera Type | 4MP Full-Color Dual-Light Network Bullet Camera | 5MP Full-Color Dual-Light Network Bullet Camera |
| Solution | Tianview TR38Y33 | Tianview TB38M55 |
| Image Sensor | 1/2.7″ 4MP CMOS, low illumination | 1/2.7″ 5MP CMOS, low illumination |
| Lamp Board | Dual IC circuit design | Dual IC circuit design |
| Audio | Built-in microphone | Built-in microphone |
| Protection | Metal front cover, front heat dissipation, 4000V surge protection | Metal front cover, front heat dissipation, 4000V surge protection |
| Light Control | 3 switchable modes (IR, white, auto) | 3 switchable modes (IR, white, auto) |
| Quotation Type | Bulk project quotation | Bulk project quotation |
| OEM/ODM | Available for selected orders | Available for selected orders |
| Documents | Datasheet and installation reference | Datasheet and installation reference |
| Category | CCTV System | CCTV System |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Perimeter Parking Factory | Confirm the exact model and required configuration. Confirm quantity, destination, packing, branding, and documentation requirements. |

Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope

PROJECT CONFIGURATION CHECKLIST

| Exact model | NexPro-BL512D3-4MP-DIC |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |