CCTV & SURVEILLANCE SYSTEM

# NexPro 49CH 4-Bay 4K NVR (H.265+, Dual-LAN)

Exact model: NexPro-NVR4449-4K

PRODUCT IMAGES

NexPro-NVR4449-4K · Primary

PRODUCT OVERVIEW

49CH 5MP/9×4K, 4×18TB SATA, 9CH 5MP/1×4K playback, dual 1G LAN, dual HDMI, RS485/232, alarm I/O

| Product line | CCTV & Surveillance System |
| --- | --- |
| Series / family | Standalone model |
| Exact model | NexPro-NVR4449-4K |
| Applications | Medium-Large Hotel, Industrial, Enterprise |

MODEL IDENTIFICATION

| Exact model | Product / variant | Channels | Recording | Storage |
| --- | --- | --- | --- | --- |
| NexPro-NVR4449-4K | NexPro 49CH 4-Bay 4K NVR (H.265+, Dual-LAN) | 49CH IP | Up to 4K | 4×SATA, 72TB total |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Channels | 49CH IP |
| Recording | Up to 4K |
| Storage | 4×SATA, 72TB total; 4×SATA, max 18TB each (72TB total); eSATA expansion |
| Recorder Type | 49-Channel 4-Bay H.265+ Network Video Recorder |
| Video Input | 49CH IP, 320Mbps bandwidth, auto-search/add/record/preview |
| Recording Resolution | Up to 4K |
| Network | 2×RJ45 10/100/1000M; ONVIF, P2P, SMTP, GB28181 |
| Alarm | 16×input, 4×relay output |
| Cloud | Seetong Cloud, Seetong APP instantaneous preview |
| Quotation Type | Bulk project quotation |
| OEM/ODM | Available for selected orders |
| Documents | Datasheet and installation reference |
| Category | CCTV System |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Medium-Large Hotel Industrial Enterprise | Confirm the exact model and required configuration. Confirm quantity, destination, packing, branding, and documentation requirements. |

Project supply: MOQ — Confirm by project quantity · Lead time — Confirm by project list · FOB port — China main ports · OEM/ODM — Available; confirm project scope

PROJECT CONFIGURATION CHECKLIST

| Exact model | NexPro-NVR4449-4K |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |