RACK PDU & POWER DISTRIBUTION

# DS8118 Hardwired 8-Outlet New Chinese-Standard PDU

Exact model: DS8118

PRODUCT IMAGES

| DS8118 · Structural Detail · Series Reference View | DS8118 · Structural Detail · Series Reference View | DS8118 · Structural Detail · Series Reference View |
| --- | --- | --- |

PRODUCT OVERVIEW

High-power and special-input/output rack PDU configurations for project-specific power distribution.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-special |
| Exact model | DS8118 |
| Applications | Special-input equipment racks, High-load cabinets, Project-configured power distribution |

MODEL IDENTIFICATION

| Exact model | Product / variant | Input Method | Input Current | Rated Load |
| --- | --- | --- | --- | --- |
| DS8118 | DS8118 Hardwired 8-Outlet New Chinese-Standard PDU | No input cable; terminal-block / hardwired input | 16 A | 4000 W |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Input Method | No input cable; terminal-block / hardwired input |
| Input Current | 16 A |
| Rated Load | 4000 W |
| Function Module | Switch protection |
| Output | 8 × 10 A new Chinese-standard outlets |
| Dimensions | 485 × 44.5 × 44.5 mm |
| Product series | High-Power & Special I/O PDU Series |
| Product category | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Special-input equipment racks High-load cabinets Project-configured power distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | DS8118 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |