RACK PDU & POWER DISTRIBUTION

# SP5086 16Ametered PDU

Exact model: SP5086

PRODUCT IMAGES

| SP5086 · Structural Detail · Series Reference View | SP5086 · Structural Detail · Series Reference View | SP5086 · Structural Detail · Series Reference View |
| --- | --- | --- |

PRODUCT OVERVIEW

Rack PDU with local voltage and current display for basic load monitoring.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-metered |
| Exact model | SP5086 |
| Applications | Server racks, Network rooms, Load monitoring projects |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable Specification | Input Current | Rated Load |
| --- | --- | --- | --- | --- |
| SP5086 | SP5086 16Ametered PDU | 3 × 2.5 mm² | 16 A | 4000 W |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable Specification | 3 × 2.5 mm² |
| Input Current | 16 A |
| Rated Load | 4000 W |
| Input Plug | 16A Chinese-standard plug |
| Function Module | Current and voltage display |
| Output | 8 × 16 A Chinese-standard outlets |
| Dimensions | 485 × 44.5 × 44.5 mm |
| Product series | Metered PDU Series |
| Product category | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Server racks Network rooms Load monitoring projects | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP5086 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |