RACK PDU & POWER DISTRIBUTION

# SP51104 High-Power & Special I/O PDU

Exact model: SP51104

PRODUCT IMAGES

| SP51104 · Primary | SP51104 · Gallery | SP51104 · Input Wiring |
| --- | --- | --- |

PRODUCT OVERVIEW

2 documented configurations are consolidated on this product-group page so buyers can compare specifications without duplicate catalog cards.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-special |
| Exact model | SP51104 |
| Applications | Special-input equipment racks, High-load cabinets, Project-configured power distribution |

MODEL IDENTIFICATION

| Exact model | Product / variant | Configurations | Input Current | Input Cable |
| --- | --- | --- | --- | --- |
| SP51104 | SP51104 High-Power & Special I/O PDU | 2 | 16 A | 3 m, 2.5 mm² |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Configurations | 2 |
| Input Current | 16 A |
| Input Cable | 3 m, 2.5 mm² |
| Input Plug | 16A Chinese-standard plug |
| Function Module | Power indicator |
| Output | 10 × 10 A universal outlets |
| Rated Load | 4000 W |
| Dimensions | 485 × 44.5 × 44.5 mm |
| Product series | High-Power & Special I/O PDU Series |
| Entity type | Product group with selectable configurations |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Special-input equipment racks High-load cabinets Project-configured power distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP51104 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |