RACK PDU & POWER DISTRIBUTION

# SP6081 32 A High-Power Circuit-Breaker PDU

Exact model: SP6081

PRODUCT IMAGES

| SP6081 · Structural Detail · Series Reference View | SP6081 · Structural Detail · Series Reference View | SP6081 · Structural Detail · Series Reference View |
| --- | --- | --- |

PRODUCT OVERVIEW

Rack power distribution with circuit-breaker or overload-protection modules for enhanced overcurrent protection.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-breaker |
| Exact model | SP6081 |
| Applications | Server and network racks, Equipment cabinets, Overload-protected distribution |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable Specification | Input Current | Rated Load |
| --- | --- | --- | --- | --- |
| SP6081 | SP6081 32 A High-Power Circuit-Breaker PDU | 3 × 4 mm² | 32 A | 6000 W |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable Specification | 3 × 4 mm² |
| Input Current | 32 A |
| Rated Load | 6000 W |
| Input Plug | 32A industrial plug |
| Function Module | Circuit breaker |
| Output | 8 × 16 A Chinese-standard outlets |
| Dimensions | 485 × 44.5 × 44.5 mm |
| Product series | Circuit Breaker & Overload Protection PDU Series |
| Product category | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Server and network racks Equipment cabinets Overload-protected distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP6081 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |