RACK PDU & POWER DISTRIBUTION

# SP61202 20-Outlet Long-Form High-Power Surge-Protected PDU

Exact model: SP61202

PRODUCT IMAGES

| SP61202 · Structural Detail · Series Reference View | SP61202 · Structural Detail · Series Reference View | SP61202 · Structural Detail · Series Reference View |
| --- | --- | --- |

PRODUCT OVERVIEW

Rack power distribution with integrated surge protection for 10 A, 16 A and 32 A input configurations.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-spd |
| Exact model | SP61202 |
| Applications | Network racks, Security cabinets, Surge-protected equipment distribution |

MODEL IDENTIFICATION

| Exact model | Product / variant | Cable Specification | Input Current | Rated Load |
| --- | --- | --- | --- | --- |
| SP61202 | SP61202 20-Outlet Long-Form High-Power Surge-Protected PDU | 3 × 6 mm² | 32 A | 8000 W |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Cable Specification | 3 × 6 mm² |
| Input Current | 32 A |
| Rated Load | 8000 W |
| Input Plug | 32A industrial plug |
| Function Module | SPD surge protection |
| Output | 20 × 10 A universal outlets |
| Dimensions | 990 × 62 × 44.5 mm |
| Product series | Surge-Protected Rack PDU Series |
| Product category | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Network racks Security cabinets Surge-protected equipment distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP61202 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |