## Slide 1
TECHNICAL PRODUCT PORTFOLIO
Rack PDU & Power Distribution
Detailed model selection for overseas B2B projects, system integration and procurement
TECHNICAL DATA
MODEL SELECTION
PROJECT RFQ
LS8113
LS8113
LS8113
SP5181
SP5181
23
catalog models
7
product families
20
application contexts
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-25sq-switch\031_ls8113_socket_variant.png
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-25sq-switch\030_ls8113_jack_detail.png
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-2m-15sq-dp\040_ls8113_double_switch_module.jpg
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\sp5181\012_sp5181_product.png
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\sp5181\011_sp5181_10a_plug.jpg

## Slide 2
RACK PDU & POWER DISTRIBUTION
Application landscape
NexPro Product Intelligence · Project configurations are confirmed through RFQ
02
LS8113
LS8113
LS8113
Network racks
Security equipment cabinets
IT equipment distribution
Security cabinets
Surge-protected equipment distribution
Server and network racks
Equipment cabinets
Overload-protected distribution
Server racks
Network rooms
Load monitoring projects
Special-input equipment racks
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-25sq-switch\031_ls8113_socket_variant.png
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-25sq-switch\030_ls8113_jack_detail.png
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-2m-15sq-dp\040_ls8113_double_switch_module.jpg

## Slide 3
RACK PDU & POWER DISTRIBUTION
Portfolio structure
NexPro Product Intelligence · Project configurations are confirmed through RFQ
03
Basic Switched Rack PDU Series
3 models
LS8113 · SP5181
Surge-Protected Rack PDU Series
6 models
SP1182-2 · SP3182
Circuit Breaker & Overload Protection PDU Series
5 models
DT7188 · SP5071
Metered PDU Series
2 models
SP5086 · SP5186
High-Power & Special I/O PDU Series
4 models
DS8118 · SP51104
IEC C13/C19 Locking PDU Series
2 models
SP5IEC139 · SPSIEC196
Custom Intelligent PDU Series / Manufacturer Model Not Provided
1 model
PDU-SMART-CUSTOM
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 4
RACK PDU & POWER DISTRIBUTION
Technical data · LS8113 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
04
LS8113
LS8113 Basic Switched Rack PDU
Approved parameters 1–10 of 10
PARAMETER
APPROVED SPECIFICATION
Configurations
2
Input Current
10 A
Conductor Cross-Section
2.5 mm² (catalog unit normalized for website display)
Input Plug
10A Chinese-standard plug
Function Module
Switch protection
Output
8 × 10 A new Chinese-standard outlets
Rated Load
2500 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Basic Switched Rack PDU Series
Entity type
Product group with selectable configurations
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\ls8113-10a-25sq-switch\031_ls8113_socket_variant.png

## Slide 5
RACK PDU & POWER DISTRIBUTION
Technical data · SP5181 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
05
SP5181
SP5181 10 A basic switched rack PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
10 A
Input Cable
3 m, conductor cross-section 1.5 mm²
Input Plug
10 A Chinese-standard plug
Function Module
Master switch protection
Output
8 × 10 A universal outlets
Rated Load
2500 W
Dimensions
485 × 44.5 × 44.5 mm (approx. 1U)
Product series
Basic Switched Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\sp5181\012_sp5181_product.png

## Slide 6
RACK PDU & POWER DISTRIBUTION
Technical data · SP81097S · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
06
SP81097S
SP81097S dual-row independently switched PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
10 A
Input Cable
3 m, 1.5 mm²
Input Plug
10A Chinese-standard plug
Function Module
Switch protection
Output
8 × 10 A universal outlets
Rated Load
2500 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Basic Switched Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-basic\sp81097s\026_sp81097s_product.jpg

## Slide 7
RACK PDU & POWER DISTRIBUTION
Technical data · SP1182-2 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
07
SP1182-2
SP1182-2 Single-Row 1U High-Power PDU
Approved parameters 1–7 of 7
PARAMETER
APPROVED SPECIFICATION
Input Current
32 A
Function Module
catalog states “hot plug lighting protection”
Output
8 × 10 A universal outlets
Rated Load
8000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp1182-2\024_sp1182_2_product.png

## Slide 8
RACK PDU & POWER DISTRIBUTION
Technical data · SP3182 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
08
SP3182
SP3182 10 A SPDsurge-protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
10 A
Input Cable
3 m, 1.5 mm²
Input Plug
10A Chinese-standard plug
Function Module
SPD protection
Output
8 × 10 A universal outlets
Rated Load
2500 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp3182\043_sp3182_product.png

## Slide 9
RACK PDU & POWER DISTRIBUTION
Technical data · SP5082 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
09
SP5082
SP5082 Surge-Protected Rack PDU
Approved parameters 1–10 of 10
PARAMETER
APPROVED SPECIFICATION
Configurations
2
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
SPD surge protection
Output
8 × 16 A Chinese-standard outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Entity type
Product group with selectable configurations
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp5082-16a-cn-spd-8out\014_sp5082_16a_product.png

## Slide 10
RACK PDU & POWER DISTRIBUTION
Technical data · SP5087 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
10
SP5087
SP5087 16 A Switched Surge-Protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Switch + surge protection
Output
8 × 16 A Chinese-standard outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp5087\029_sp5087_product.png

## Slide 11
RACK PDU & POWER DISTRIBUTION
Technical data · SP5182 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
11
SP5182
SP5182 10 A SPDsurge-protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Cable Specification
3 × 1.5 mm²
Input Current
10 A
Rated Load
2500 W
Input Plug
10A Chinese-standard plug
Function Module
SPD surge protection
Output
8 × 10 A universal outlets
Dimensions
485 × 44.5 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp5182\008_pdu_socket_shell_detail.jpg

## Slide 12
RACK PDU & POWER DISTRIBUTION
Technical data · SP61202 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
12
SP61202
SP61202 20-Outlet Long-Form High-Power Surge-Protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Cable Specification
3 × 6 mm²
Input Current
32 A
Rated Load
8000 W
Input Plug
32A industrial plug
Function Module
SPD surge protection
Output
20 × 10 A universal outlets
Dimensions
990 × 62 × 44.5 mm
Product series
Surge-Protected Rack PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-spd\sp61202\008_pdu_socket_shell_detail.jpg

## Slide 13
RACK PDU & POWER DISTRIBUTION
Technical data · DT7188 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
13
DT7188
DT7188 10 A Switched Overload-Protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
10 A
Input Cable
3 m, 1.5 mm²
Input Plug
10A Chinese-standard plug
Function Module
Switch + overload protection
Output
8 × 10 A universal outlets
Rated Load
2500 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Circuit Breaker & Overload Protection PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-breaker\dt7188\047_dt7188_product.png

## Slide 14
RACK PDU & POWER DISTRIBUTION
Technical data · SP5071 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
14
SP5071
SP5071 Circuit Breaker & Overload Protection PDU
Approved parameters 1–10 of 10
PARAMETER
APPROVED SPECIFICATION
Configurations
2
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Function Module
Circuit breaker
Output
7 × 16 A Chinese-standard outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Input Plug
16A Chinese-standard plug
Product series
Circuit Breaker & Overload Protection PDU Series
Entity type
Product group with selectable configurations
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-breaker\sp5071-16a-cn-breaker\051_sp5071_air_switch_product.png

## Slide 15
RACK PDU & POWER DISTRIBUTION
Technical data · SP51103 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
15
SP51103
SP51103 10-Outlet 3-in-1 Protection PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
3-in-1 protection
Output
10 × 10 A universal outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Circuit Breaker & Overload Protection PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-breaker\sp51103\053_sp51103_product.jpg

## Slide 16
RACK PDU & POWER DISTRIBUTION
Technical data · SP5188 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
16
SP5188
SP5188 16 A Switched Overload-Protected PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Switch + overload protection
Output
8 × 10 A universal outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Circuit Breaker & Overload Protection PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-breaker\sp5188\033_sp5188_product.png

## Slide 17
RACK PDU & POWER DISTRIBUTION
Technical data · SP6081 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
17
SP6081
SP6081 32 A High-Power Circuit-Breaker PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Cable Specification
3 × 4 mm²
Input Current
32 A
Rated Load
6000 W
Input Plug
32A industrial plug
Function Module
Circuit breaker
Output
8 × 16 A Chinese-standard outlets
Dimensions
485 × 44.5 × 44.5 mm
Product series
Circuit Breaker & Overload Protection PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-breaker\sp6081\008_pdu_socket_shell_detail.jpg

## Slide 18
RACK PDU & POWER DISTRIBUTION
Technical data · SP5086 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
18
SP5086
SP5086 16Ametered PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Cable Specification
3 × 2.5 mm²
Input Current
16 A
Rated Load
4000 W
Input Plug
16A Chinese-standard plug
Function Module
Current and voltage display
Output
8 × 16 A Chinese-standard outlets
Dimensions
485 × 44.5 × 44.5 mm
Product series
Metered PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-metered\sp5086\008_pdu_socket_shell_detail.jpg

## Slide 19
RACK PDU & POWER DISTRIBUTION
Technical data · SP5186 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
19
SP5186
SP5186 16Ametered PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Current and voltage display
Output
8 × 10 A universal outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
Metered PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-metered\sp5186\045_sp5186_product.jpg

## Slide 20
RACK PDU & POWER DISTRIBUTION
Technical data · DS8118 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
20
DS8118
DS8118 Hardwired 8-Outlet New Chinese-Standard PDU
Approved parameters 1–8 of 8
PARAMETER
APPROVED SPECIFICATION
Input Method
No input cable; terminal-block / hardwired input
Input Current
16 A
Rated Load
4000 W
Function Module
Switch protection
Output
8 × 10 A new Chinese-standard outlets
Dimensions
485 × 44.5 × 44.5 mm
Product series
High-Power & Special I/O PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-special\ds8118\008_pdu_socket_shell_detail.jpg

## Slide 21
RACK PDU & POWER DISTRIBUTION
Technical data · SP51104 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
21
SP51104
SP51104 High-Power & Special I/O PDU
Approved parameters 1–10 of 10
PARAMETER
APPROVED SPECIFICATION
Configurations
2
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Power indicator
Output
10 × 10 A universal outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
High-Power & Special I/O PDU Series
Entity type
Product group with selectable configurations
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-special\sp51104-16a-cn-10out\049_sp51104_product.jpg

## Slide 22
RACK PDU & POWER DISTRIBUTION
Technical data · SP5281 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
22
SP5281
SP5281 16 A Universal-Outlet PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Switch protection
Output
8 × 16 A universal outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
High-Power & Special I/O PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-special\sp5281\035_sp5281_product.jpg

## Slide 23
RACK PDU & POWER DISTRIBUTION
Technical data · SP9041S · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
23
SP9041S
SP9041S 4-Outlet 16 A High-Power Terminal-Block PDU
Approved parameters 1–7 of 7
PARAMETER
APPROVED SPECIFICATION
Input Current
32 A
Function Module
Junction box / terminal block
Output
4 × 16 A Chinese-standard outlets
Rated Load
8000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
High-Power & Special I/O PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-special\sp9041s\025_sp9041s_product.jpg

## Slide 24
RACK PDU & POWER DISTRIBUTION
Technical data · SP5IEC139 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
24
SP5IEC139
SP5IEC139 9-Outlet IEC C13 Locking PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Not specified in the catalog
Output
9 × IEC 60320 C13 locking outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
IEC C13/C19 Locking PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-iec\sp5iec139\037_sp5iec139_product.jpg

## Slide 25
RACK PDU & POWER DISTRIBUTION
Technical data · SPSIEC196 · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
25
SPSIEC196
SPSIEC196 9-Outlet IEC C19 Locking PDU
Approved parameters 1–9 of 9
PARAMETER
APPROVED SPECIFICATION
Input Current
16 A
Input Cable
3 m, 2.5 mm²
Input Plug
16A Chinese-standard plug
Function Module
Not specified in the catalog
Output
9 × IEC 60320 C19 locking outlets
Rated Load
4000 W
Dimensions
485 × 44.5 × 44.5 mm
Product series
IEC C13/C19 Locking PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-iec\spsiec196\039_spsiec196_product.jpg

## Slide 26
RACK PDU & POWER DISTRIBUTION
Technical data · PDU-SMART-CUSTOM · 1/1
NexPro Product Intelligence · Project configurations are confirmed through RFQ
26
PDU-SMART-CUSTOM
Custom Intelligent PDU Series / Manufacturer Model Not Provided
Approved parameters 1–7 of 7
PARAMETER
APPROVED SPECIFICATION
Local Interface
LCD display
Communication / Expansion
Ethernet uplink and cascading interface
Environmental Monitoring
Temperature/humidity alarm, water leakage and smoke detection
Security Expansion
Access control
Core Functions
Remote control, real-time monitoring, data acquisition and cascading
Product series
Intelligent PDU Series
Product category
PDU
This product section contains every approved customer-facing specification field for the exact model. Missing source values are stated explicitly.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts
- D:\NexPro-Link-安放解决方案供应商网站\public\images\products\pdu-catalog\pdu-smart\pdu-smart-custom\055_intelligent_pdu_product.jpg

## Slide 27
RACK PDU & POWER DISTRIBUTION
Technical selection snapshot
NexPro Product Intelligence · Project configurations are confirmed through RFQ
27
Exact model
LS8113
SP5182
SP5186
PDU-SMART-CUSTOM
Product
LS8113 Basic Switched Rack PDU
SP5182 10 A SPDsurge-protected PDU
SP5186 16Ametered PDU
Custom Intelligent PDU Series / Manufacturer Model Not Provided
Key specification 1
Configurations: 2
Cable Specification: 3 × 1.5 mm²
Input Current: 16 A
Local Interface: LCD display
Key specification 2
Input Current: 10 A
Input Current: 10 A
Input Cable: 3 m, 2.5 mm²
Communication / Expansion: Ethernet uplink and cascad…
Application fit
Network racks · Security equipment cabinets · IT equi…
Network racks · Security cabinets · Surge-protected e…
Server racks · Network rooms · Load monitoring projec…
Monitored server racks · Remote power management · Da…
Use the detailed Word specification documents for complete approved attributes and family variant tables.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 28
RACK PDU & POWER DISTRIBUTION
Approved model register
NexPro Product Intelligence · Project configurations are confirmed through RFQ
28
LS8113
SP5181
SP81097S
SP1182-2
SP3182
SP5082
SP5087
SP5182
SP61202
DT7188
SP5071
SP51103
SP5188
SP6081
SP5086
SP5186
DS8118
SP51104
SP5281
SP9041S
SP5IEC139
SPSIEC196
PDU-SMART-CUSTOM
23 exact website model records shown on this page · 23 total for this product line
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\NexPro-Link-安放解决方案供应商网站\src\data\products.ts

## Slide 29
RACK PDU & POWER DISTRIBUTION
Procurement and RFQ checklist
NexPro Product Intelligence · Project configurations are confirmed through RFQ
29
01
Quantity & mix
Confirm by model and project quantity
02
Lead time
Confirm after configuration review
03
Shipping basis
Confirm in project quotation
04
OEM / ODM
To be confirmed
Include in your inquiry
Exact model or required function
Estimated quantity
Destination country or port
Required interfaces / accessories
Documentation and OEM/ODM needs
Final configuration, availability and commercial terms are confirmed in the project quotation.
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json

## Slide 30
READY FOR THE PROJECT LIST
Share your requirements.
We will shortlist the right models.
Rack PDU & Power Distribution
REQUEST A PROJECT QUOTATION
NexPro · 30
Notes: [Sources]
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0203\product-artifact-manifest.json
- D:\Nexpro-link 产品数据库\artifacts\NPL-DB-0304\assets\nexpro-technical-background-v1.png