RACK PDU & POWER DISTRIBUTION

# High-Power & Special I/O PDU Series

Models: DS8118 | SP51104 | SP5281 | SP9041S

PRODUCT IMAGES

| DS8118 · Structural Detail · Series Reference View | DS8118 · Structural Detail · Series Reference View | DS8118 · Structural Detail · Series Reference View | SP51104 · Primary |
| --- | --- | --- | --- |

| SP51104 · Gallery | SP51104 · Input Wiring | SP5281 · Primary | SP5281 · Gallery |
| --- | --- | --- | --- |

PRODUCT OVERVIEW

High-power and special-input/output rack PDU configurations for project-specific power distribution.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-special |
| Exact model | DS8118 ¦ SP51104 ¦ SP5281 ¦ SP9041S |
| Applications | Special-input equipment racks, High-load cabinets, Project-configured power distribution |

MODEL COMPARISON

| Exact model | Product / variant | Input Current | Input Cable | Input Method |
| --- | --- | --- | --- | --- |
| DS8118 | DS8118 Hardwired 8-Outlet New Chinese-Standard PDU | 16 A | Not provided | No input cable; terminal-block / hardwired input |
| SP51104 | SP51104 High-Power & Special I/O PDU | 16 A | 3 m, 2.5 mm² | Not provided |
| SP5281 | SP5281 16 A Universal-Outlet PDU | 16 A | 3 m, 2.5 mm² | Not provided |
| SP9041S | SP9041S 4-Outlet 16 A High-Power Terminal-Block PDU | 32 A | Not provided | Not provided |

TECHNICAL SPECIFICATIONS

| Parameter | DS8118 | SP51104 | SP5281 | SP9041S |
| --- | --- | --- | --- | --- |
| Input Method | No input cable; terminal-block / hardwired input | Not provided | Not provided | Not provided |
| Input Current | 16 A | 16 A | 16 A | 32 A |
| Rated Load — Key Specifications | 4000 W | Not provided | Not provided | Not provided |
| Function Module — Source Technical Data | Switch protection | Power indicator | Switch protection | Not provided |
| Output — Source Technical Data | 8 × 10 A new Chinese-standard outlets | 10 × 10 A universal outlets | 8 × 16 A universal outlets | Not provided |
| Dimensions | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm |
| Product series | High-Power & Special I/O PDU Series | High-Power & Special I/O PDU Series | High-Power & Special I/O PDU Series | High-Power & Special I/O PDU Series |
| Product category | PDU | Not provided | PDU | PDU |
| Configurations | Not provided | 2 | Not provided | Not provided |
| Input Cable | Not provided | 3 m, 2.5 mm² | 3 m, 2.5 mm² | Not provided |
| Input Plug — Source Technical Data | Not provided | 16A Chinese-standard plug | Not provided | Not provided |
| Rated Load — Source Technical Data | Not provided | 4000 W | 4000 W | 8000 W |
| Entity type | Not provided | Product group with selectable configurations | Not provided | Not provided |
| Input Plug — Key Specifications | Not provided | Not provided | 16A Chinese-standard plug | Not provided |
| Function Module — Key Specifications | Not provided | Not provided | Not provided | Junction box / terminal block |
| Output — Key Specifications | Not provided | Not provided | Not provided | 4 × 16 A Chinese-standard outlets |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Special-input equipment racks High-load cabinets Project-configured power distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | DS8118 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |