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RACK PDU & POWER DISTRIBUTION
Basic Switched Rack PDU Series
Models: LS8113 | SP5181 | SP81097S
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PRODUCT OVERVIEW
2 documented configurations are consolidated on this product-group page so buyers can compare specifications without duplicate catalog cards.
	Product line
	Rack PDU & Power Distribution

	Series / family
	pdu-basic

	Exact model
	LS8113 | SP5181 | SP81097S

	Applications
	Network racks, Security equipment cabinets, IT equipment distribution


MODEL COMPARISON
	Exact model
	Product / variant
	Input Current
	Input Cable
	Input Plug

	LS8113
	LS8113 Basic Switched Rack PDU
	10 A
	Not provided
	Not provided

	SP5181
	SP5181 10 A basic switched rack PDU
	10 A
	3 m, conductor cross-section 1.5 mm²
	10 A Chinese-standard plug

	SP81097S
	SP81097S dual-row independently switched PDU
	10 A
	3 m, 1.5 mm²
	10A Chinese-standard plug


TECHNICAL SPECIFICATIONS
	Parameter
	LS8113
	SP5181
	SP81097S

	Configurations
	2
	Not provided
	Not provided

	Input Current
	10 A
	10 A
	10 A

	Conductor Cross-Section
	2.5 mm² (catalog unit normalized for website display)
	Not provided
	Not provided

	Input Plug — Source Technical Data
	10A Chinese-standard plug
	Not provided
	Not provided

	Function Module
	Switch protection
	Master switch protection
	Switch protection

	Output
	8 × 10 A new Chinese-standard outlets
	8 × 10 A universal outlets
	8 × 10 A universal outlets

	Rated Load
	2500 W
	2500 W
	2500 W

	Dimensions
	485 × 44.5 × 44.5 mm
	485 × 44.5 × 44.5 mm (approx. 1U)
	485 × 44.5 × 44.5 mm

	Product series
	Basic Switched Rack PDU Series
	Basic Switched Rack PDU Series
	Basic Switched Rack PDU Series

	Entity type
	Product group with selectable configurations
	Not provided
	Not provided

	Input Cable
	Not provided
	3 m, conductor cross-section 1.5 mm²
	3 m, 1.5 mm²

	Input Plug — Key Specifications
	Not provided
	10 A Chinese-standard plug
	10A Chinese-standard plug

	Product category
	Not provided
	PDU
	PDU


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Network racks
Security equipment cabinets
IT equipment distribution
	Confirm the application, rack or room position, destination-market interface and mounting requirement.
Confirm electrical, network, accessory or protection scope from the product family and project drawings.
Confirm quantity, labeling, packing and required documents before purchase order.


Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed
PROJECT CONFIGURATION CHECKLIST
	Exact model
	LS8113

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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