RACK PDU & POWER DISTRIBUTION

# Basic Switched Rack PDU Series

Models: LS8113 | SP5181 | SP81097S

PRODUCT IMAGES

| LS8113 · Primary | LS8113 · Gallery | LS8113 · Gallery | SP5181 · Primary |
| --- | --- | --- | --- |

| SP5181 · Gallery | SP81097S · Primary |
| --- | --- |

PRODUCT OVERVIEW

2 documented configurations are consolidated on this product-group page so buyers can compare specifications without duplicate catalog cards.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-basic |
| Exact model | LS8113 ¦ SP5181 ¦ SP81097S |
| Applications | Network racks, Security equipment cabinets, IT equipment distribution |

MODEL COMPARISON

| Exact model | Product / variant | Input Current | Input Cable | Input Plug |
| --- | --- | --- | --- | --- |
| LS8113 | LS8113 Basic Switched Rack PDU | 10 A | Not provided | Not provided |
| SP5181 | SP5181 10 A basic switched rack PDU | 10 A | 3 m, conductor cross-section 1.5 mm² | 10 A Chinese-standard plug |
| SP81097S | SP81097S dual-row independently switched PDU | 10 A | 3 m, 1.5 mm² | 10A Chinese-standard plug |

TECHNICAL SPECIFICATIONS

| Parameter | LS8113 | SP5181 | SP81097S |
| --- | --- | --- | --- |
| Configurations | 2 | Not provided | Not provided |
| Input Current | 10 A | 10 A | 10 A |
| Conductor Cross-Section | 2.5 mm² (catalog unit normalized for website display) | Not provided | Not provided |
| Input Plug — Source Technical Data | 10A Chinese-standard plug | Not provided | Not provided |
| Function Module | Switch protection | Master switch protection | Switch protection |
| Output | 8 × 10 A new Chinese-standard outlets | 8 × 10 A universal outlets | 8 × 10 A universal outlets |
| Rated Load | 2500 W | 2500 W | 2500 W |
| Dimensions | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm (approx. 1U) | 485 × 44.5 × 44.5 mm |
| Product series | Basic Switched Rack PDU Series | Basic Switched Rack PDU Series | Basic Switched Rack PDU Series |
| Entity type | Product group with selectable configurations | Not provided | Not provided |
| Input Cable | Not provided | 3 m, conductor cross-section 1.5 mm² | 3 m, 1.5 mm² |
| Input Plug — Key Specifications | Not provided | 10 A Chinese-standard plug | 10A Chinese-standard plug |
| Product category | Not provided | PDU | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Network racks Security equipment cabinets IT equipment distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | LS8113 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |