RACK PDU & POWER DISTRIBUTION

# Surge-Protected Rack PDU Series

Models: SP1182-2 | SP3182 | SP5082 | SP5087 | SP5182 | SP61202

PRODUCT IMAGES

| SP1182-2 · Primary | SP3182 · Primary | SP3182 · Gallery | SP5082 · Primary |
| --- | --- | --- | --- |

| SP5082 · Gallery | SP5082 · Gallery | SP5082 · Gallery | SP5087 · Primary |
| --- | --- | --- | --- |

PRODUCT OVERVIEW

Rack power distribution with integrated surge protection for 10 A, 16 A and 32 A input configurations.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-spd |
| Exact model | SP1182-2 ¦ SP3182 ¦ SP5082 ¦ SP5087 ¦ SP5182 ¦ SP61202 |
| Applications | Network racks, Security cabinets, Surge-protected equipment distribution |

MODEL COMPARISON

| Exact model | Product / variant | Input Current | Input Cable | Input Plug |
| --- | --- | --- | --- | --- |
| SP1182-2 | SP1182-2 Single-Row 1U High-Power PDU | 32 A | Not provided | Not provided |
| SP3182 | SP3182 10 A SPDsurge-protected PDU | 10 A | 3 m, 1.5 mm² | 10A Chinese-standard plug |
| SP5082 | SP5082 Surge-Protected Rack PDU | 16 A | 3 m, 2.5 mm² | Not provided |
| SP5087 | SP5087 16 A Switched Surge-Protected PDU | 16 A | 3 m, 2.5 mm² | 16A Chinese-standard plug |
| SP5182 | SP5182 10 A SPDsurge-protected PDU | 10 A | Not provided | Not provided |
| SP61202 | SP61202 20-Outlet Long-Form High-Power Surge-Protected PDU | 32 A | Not provided | Not provided |

TECHNICAL SPECIFICATIONS

Models: SP1182-2 | SP3182 | SP5082 | SP5087

| Parameter | SP1182-2 | SP3182 | SP5082 | SP5087 |
| --- | --- | --- | --- | --- |
| Input Current | 32 A | 10 A | 16 A | 16 A |
| Function Module — Key Specifications | catalog states “hot plug lighting protection” | Not provided | Not provided | Not provided |
| Output — Key Specifications | 8 × 10 A universal outlets | Not provided | Not provided | Not provided |
| Rated Load | 8000 W | 2500 W | 4000 W | 4000 W |
| Dimensions | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm |
| Product series | Surge-Protected Rack PDU Series | Surge-Protected Rack PDU Series | Surge-Protected Rack PDU Series | Surge-Protected Rack PDU Series |
| Product category | PDU | PDU | Not provided | PDU |
| Input Cable | Not provided | 3 m, 1.5 mm² | 3 m, 2.5 mm² | 3 m, 2.5 mm² |
| Input Plug — Key Specifications | Not provided | 10A Chinese-standard plug | Not provided | 16A Chinese-standard plug |
| Function Module — Source Technical Data | Not provided | SPD protection | SPD surge protection | Switch + surge protection |
| Output — Source Technical Data | Not provided | 8 × 10 A universal outlets | 8 × 16 A Chinese-standard outlets | 8 × 16 A Chinese-standard outlets |
| Configurations | Not provided | Not provided | 2 | Not provided |
| Input Plug — Source Technical Data | Not provided | Not provided | 16A Chinese-standard plug | Not provided |
| Entity type | Not provided | Not provided | Product group with selectable configurations | Not provided |

Models: SP5182 | SP61202

| Parameter | SP5182 | SP61202 |
| --- | --- | --- |
| Cable Specification | 3 × 1.5 mm² | 3 × 6 mm² |
| Input Current | 10 A | 32 A |
| Rated Load | 2500 W | 8000 W |
| Input Plug | 10A Chinese-standard plug | 32A industrial plug |
| Function Module | SPD surge protection | SPD surge protection |
| Output | 8 × 10 A universal outlets | 20 × 10 A universal outlets |
| Dimensions | 485 × 44.5 × 44.5 mm | 990 × 62 × 44.5 mm |
| Product series | Surge-Protected Rack PDU Series | Surge-Protected Rack PDU Series |
| Product category | PDU | PDU |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Network racks Security cabinets Surge-protected equipment distribution | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP1182-2 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |