RACK PDU & POWER DISTRIBUTION

# Metered PDU Series

Models: SP5086 | SP5186

PRODUCT IMAGES

| SP5086 · Structural Detail · Series Reference View | SP5086 · Structural Detail · Series Reference View | SP5086 · Structural Detail · Series Reference View | SP5186 · Primary |
| --- | --- | --- | --- |

SP5186 · Gallery

PRODUCT OVERVIEW

Rack PDU with local voltage and current display for basic load monitoring.

| Product line | Rack PDU & Power Distribution |
| --- | --- |
| Series / family | pdu-metered |
| Exact model | SP5086 ¦ SP5186 |
| Applications | Server racks, Network rooms, Load monitoring projects |

MODEL COMPARISON

| Exact model | Product / variant | Input Current | Cable Specification | Rated Load |
| --- | --- | --- | --- | --- |
| SP5086 | SP5086 16Ametered PDU | 16 A | 3 × 2.5 mm² | 4000 W |
| SP5186 | SP5186 16Ametered PDU | 16 A | Not provided | Not provided |

TECHNICAL SPECIFICATIONS

| Parameter | SP5086 | SP5186 |
| --- | --- | --- |
| Cable Specification | 3 × 2.5 mm² | Not provided |
| Input Current | 16 A | 16 A |
| Rated Load — Key Specifications | 4000 W | Not provided |
| Input Plug — Source Technical Data | 16A Chinese-standard plug | Not provided |
| Function Module | Current and voltage display | Current and voltage display |
| Output | 8 × 16 A Chinese-standard outlets | 8 × 10 A universal outlets |
| Dimensions | 485 × 44.5 × 44.5 mm | 485 × 44.5 × 44.5 mm |
| Product series | Metered PDU Series | Metered PDU Series |
| Product category | PDU | PDU |
| Input Cable | Not provided | 3 m, 2.5 mm² |
| Input Plug — Key Specifications | Not provided | 16A Chinese-standard plug |
| Rated Load — Source Technical Data | Not provided | 4000 W |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Server racks Network rooms Load monitoring projects | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP5086 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |