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IEC C13/C19 Locking PDU Series
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RACK PDU & POWER DISTRIBUTION
IEC C13/C19 Locking PDU Series
Models: SP5IEC139 | SPSIEC196
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PRODUCT OVERVIEW
Rack PDU with IEC C13 or C19 locking outlets for IT and data-center equipment.
	Product line
	Rack PDU & Power Distribution

	Series / family
	pdu-iec

	Exact model
	SP5IEC139 | SPSIEC196

	Applications
	IEC equipment racks, Server cabinets, Locking-outlet power distribution


MODEL COMPARISON
	Exact model
	Product / variant
	Input Current
	Input Cable
	Input Plug

	SP5IEC139
	SP5IEC139 9-Outlet IEC C13 Locking PDU
	16 A
	3 m, 2.5 mm²
	16A Chinese-standard plug

	SPSIEC196
	SPSIEC196 9-Outlet IEC C19 Locking PDU
	16 A
	3 m, 2.5 mm²
	16A Chinese-standard plug


TECHNICAL SPECIFICATIONS
	Parameter
	SP5IEC139
	SPSIEC196

	Input Current
	16 A
	16 A

	Input Cable
	3 m, 2.5 mm²
	3 m, 2.5 mm²

	Input Plug
	16A Chinese-standard plug
	16A Chinese-standard plug

	Function Module
	Not specified in the catalog
	Not specified in the catalog

	Output
	9 × IEC 60320 C13 locking outlets
	9 × IEC 60320 C19 locking outlets

	Rated Load
	4000 W
	4000 W

	Dimensions
	485 × 44.5 × 44.5 mm
	485 × 44.5 × 44.5 mm

	Product series
	IEC C13/C19 Locking PDU Series
	IEC C13/C19 Locking PDU Series

	Product category
	PDU
	PDU


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	IEC equipment racks
Server cabinets
Locking-outlet power distribution
	Confirm the application, rack or room position, destination-market interface and mounting requirement.
Confirm electrical, network, accessory or protection scope from the product family and project drawings.
Confirm quantity, labeling, packing and required documents before purchase order.


Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed
PROJECT CONFIGURATION CHECKLIST
	Exact model
	SP5IEC139

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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