RACK CABINETS & DATA CENTER CONTAINMENT

# KP-C Electromagnetic Shielding Cabinet Series

Exact model: KP-C

PRODUCT IMAGES

| KP-C · Primary · Series Reference View | KP-C · Technical Drawing · Series Reference View | KP-C · Technical Drawing · Series Reference View | KP-C · Technical Drawing · Series Reference View |
| --- | --- | --- | --- |

| KP-C · Technical Drawing · Series Reference View | KP-C · Structural Detail · Series Reference View | KP-C · Structural Detail · Series Reference View | KP-C · Structural Detail · Series Reference View |
| --- | --- | --- | --- |

PRODUCT OVERVIEW

14 documented configurations are consolidated on this product-group page so buyers can compare specifications without duplicate catalog cards.

| Product line | Rack Cabinets & Data Center Containment |
| --- | --- |
| Series / family | shielding |
| Exact model | KP-C |
| Applications | EMI-sensitive equipment rooms, Data rooms, Security and communication cabinets |

MODEL IDENTIFICATION

| Exact model | Product / variant | Configurations | Rack Height | Net Weight |
| --- | --- | --- | --- | --- |
| KP-C | KP-C Electromagnetic Shielding Cabinet Series | 14 | 10U | 100kg |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Configurations | 14 |
| Rack Height | 10U |
| Net Weight | 100kg |
| Overall Dimensions | 700 × 980 × 800 mm |
| Standard Configuration | 10 network-cable waveguides; 5 fiber waveguides; 1 × 16 A filter; 2–3 shelves; 1 × 16 A 6-outlet PDU; 4 adjustable fans; 2 ventilation waveguide windows (catalog: 300 × 30 type) |
| Optional Configuration | Humidity monitoring, alarm display, combination lock, fingerprint access, four fan groups / high-power fans, waveguide window, opening rear door, air-conditioner extension, air duct, top cable entry, filter, PDU and other options |
| Product series | KP-C Electromagnetic Shielding Cabinet Series |
| Entity type | Product group with selectable configurations |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| EMI-sensitive equipment rooms Data rooms Security and communication cabinets | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | KP-C |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |