RACK CABINETS & DATA CENTER CONTAINMENT

# Custom Cold Aisle Containment Series / Manufacturer Model Not Provided

Exact model: COLD-AISLE-CUSTOM

PRODUCT IMAGES

| COLD-AISLE-CUSTOM · Primary · Series Reference View | COLD-AISLE-CUSTOM · Gallery |
| --- | --- |

PRODUCT OVERVIEW

Modular cold aisle containment for data centers, designed to separate hot and cold airflow and support project integration.

| Product line | Rack Cabinets & Data Center Containment |
| --- | --- |
| Series / family | cold-aisle |
| Exact model | COLD-AISLE-CUSTOM |
| Applications | Data centers, Server rooms, Energy-efficiency retrofit projects |

MODEL IDENTIFICATION

| Exact model | Product / variant | Catalog Dimension Reference | Structure | End Door |
| --- | --- | --- | --- | --- |
| COLD-AISLE-CUSTOM | Custom Cold Aisle Containment Series / Manufacturer Model Not Provided | Catalog illustration: aisle width approx. 700 mm; cabinet-row/module depth approx. 980 mm | Single-row or dual-row modular enclosed aisle | High-transparency tempered-glass end door; hinged or sliding configuration |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Catalog Dimension Reference | Catalog illustration: aisle width approx. 700 mm; cabinet-row/module depth approx. 980 mm |
| Structure | Single-row or dual-row modular enclosed aisle |
| End Door | High-transparency tempered-glass end door; hinged or sliding configuration |
| Roof | High-transparency roof skylight |
| Airflow | Perforated cabinet doors support aisle airflow |
| System Integration | Can integrate with the data-room fire protection system |
| Expansion | Interfaces reserved for cameras, temperature detection and other modules |
| Product series | Data Center Cold Aisle Containment System |
| Product category | Cold Aisle Containment |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Data centers Server rooms Energy-efficiency retrofit projects | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | COLD-AISLE-CUSTOM |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |