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Custom Cold Aisle Containment Series / Manufacturer Model Not Provided
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RACK CABINETS & DATA CENTER CONTAINMENT
Custom Cold Aisle Containment Series / Manufacturer Model Not Provided
Exact model: COLD-AISLE-CUSTOM
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	COLD-AISLE-CUSTOM · Gallery



PRODUCT OVERVIEW
Modular cold aisle containment for data centers, designed to separate hot and cold airflow and support project integration.
	Product line
	Rack Cabinets & Data Center Containment

	Series / family
	cold-aisle

	Exact model
	COLD-AISLE-CUSTOM

	Applications
	Data centers, Server rooms, Energy-efficiency retrofit projects


MODEL IDENTIFICATION
	Exact model
	Product / variant
	Catalog Dimension Reference
	Structure
	End Door

	COLD-AISLE-CUSTOM
	Custom Cold Aisle Containment Series / Manufacturer Model Not Provided
	Catalog illustration: aisle width approx. 700 mm; cabinet-row/module depth approx. 980 mm
	Single-row or dual-row modular enclosed aisle
	High-transparency tempered-glass end door; hinged or sliding configuration


TECHNICAL SPECIFICATIONS
	Parameter
	Specification

	Catalog Dimension Reference
	Catalog illustration: aisle width approx. 700 mm; cabinet-row/module depth approx. 980 mm

	Structure
	Single-row or dual-row modular enclosed aisle

	End Door
	High-transparency tempered-glass end door; hinged or sliding configuration

	Roof
	High-transparency roof skylight

	Airflow
	Perforated cabinet doors support aisle airflow

	System Integration
	Can integrate with the data-room fire protection system

	Expansion
	Interfaces reserved for cameras, temperature detection and other modules

	Product series
	Data Center Cold Aisle Containment System

	Product category
	Cold Aisle Containment


APPLICATIONS & RFQ CONFIRMATION
	Typical applications
	Confirm in the project RFQ

	Data centers
Server rooms
Energy-efficiency retrofit projects
	Confirm the application, rack or room position, destination-market interface and mounting requirement.
Confirm electrical, network, accessory or protection scope from the product family and project drawings.
Confirm quantity, labeling, packing and required documents before purchase order.


Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed
PROJECT CONFIGURATION CHECKLIST
	Exact model
	COLD-AISLE-CUSTOM

	Application and site conditions
	Confirm installation environment and operating requirements.

	Quantity and model mix
	Confirm forecast quantity, phase plan and required variants.

	Interfaces and accessories
	Confirm compatible interfaces, accessories and system integration scope.

	Finish, branding and packing
	Confirm only when project customization is required.

	Documentation and destination
	Confirm drawings, datasheets, packing documents and destination country or port.
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	NexPro Product Intelligence
	Confirm final configuration in the project RFQ
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