PATCH PANELS, FACEPLATES & KEYSTONE MODULES

# Network & Voice Keystone Module Series

Models: DT968MX | SP739 | SP868P

PRODUCT IMAGES

| DT968MX · Primary | SP739 · Primary | SP868P · Primary |
| --- | --- | --- |

PRODUCT OVERVIEW

Network and voice keystone modules for structured cabling termination.

| Product line | Patch Panels, Faceplates & Keystone Modules |
| --- | --- |
| Series / family | modules |
| Exact model | DT968MX ¦ SP739 ¦ SP868P |
| Applications | Keystone module installation, Patch panels and faceplates, Voice and data cabling |

MODEL COMPARISON

| Exact model | Product / variant | Product | Type | Material |
| --- | --- | --- | --- | --- |
| DT968MX | DT968MX Cat6 Tool-Free Network Module | Network module | Class VI / Cat6 module | Impact-resistant ABS |
| SP739 | SP739 CA T3 90° voice/telephone module | Network / voice module | CAT3 voice/telephone module | Impact-resistant ABS |
| SP868P | SP868P Cat6 Shielded Tool-Free Module | Network module | Class VI / Cat6 module | Metal |

TECHNICAL SPECIFICATIONS

| Parameter | DT968MX | SP739 | SP868P |
| --- | --- | --- | --- |
| Product | Network module | Network / voice module | Network module |
| Type | Class VI / Cat6 module | CAT3 voice/telephone module | Class VI / Cat6 module |
| Material | Impact-resistant ABS | Impact-resistant ABS | Metal |
| Features | Tool-free / feed-through (catalog wording normalized) | 90° punch-down / labeling | Shielded, tool-free / feed-through |
| Application | Connection module between faceplate and network cable | Connection module between terminal equipment and network/telephone cable | Connection module between faceplate and network cable |
| Product series | Network & Voice Keystone Module Series | Network & Voice Keystone Module Series | Network & Voice Keystone Module Series |
| Product category | Structured Cabling Accessory | Structured Cabling Accessory | Structured Cabling Accessory |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Keystone module installation Patch panels and faceplates Voice and data cabling | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | DT968MX |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |