PATCH PANELS, FACEPLATES & KEYSTONE MODULES

# Data Patch Panel Series

Models: SP5524 | SP5648

PRODUCT IMAGES

| SP5524 · Primary | SP5648 · Primary |
| --- | --- |

PRODUCT OVERVIEW

Rack-mounted data patch panels for structured network cabling.

| Product line | Patch Panels, Faceplates & Keystone Modules |
| --- | --- |
| Series / family | patch-data |
| Exact model | SP5524 ¦ SP5648 |
| Applications | Data patching, Network cabinets, ELV cabling projects |

MODEL COMPARISON

| Exact model | Product / variant | Specification | Material | Application |
| --- | --- | --- | --- | --- |
| SP5524 | SP5524 Cat5e 24-port data patch panel | Cat5e 24 ports | Cold-rolled steel | Connect network equipment and route data cabling |
| SP5648 | SP5648 Cat6 48-port data patch panel | Cat6 48 ports | Cold-rolled steel | Connect network equipment and route data cabling |

TECHNICAL SPECIFICATIONS

| Parameter | SP5524 | SP5648 |
| --- | --- | --- |
| Specification | Cat5e 24 ports | Cat6 48 ports |
| Material | Cold-rolled steel | Cold-rolled steel |
| Application | Connect network equipment and route data cabling | Connect network equipment and route data cabling |
| Height | 1U | 2U |
| Dimensions | 483 × 44.5 × 86 mm (including cable-management rings) | 483 × 88 × 92 mm (including cable-management rings) |
| Product series | Data Patch Panel Series | Data Patch Panel Series |
| Product category | Patch Panel | Patch Panel |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Data patching Network cabinets ELV cabling projects | Confirm the application, rack or room position, destination-market interface and mounting requirement. Confirm electrical, network, accessory or protection scope from the product family and project drawings. Confirm quantity, labeling, packing and required documents before purchase order. |

Project supply: MOQ — Confirm by model and project quantity · Lead time — Confirm after configuration review · FOB port — Confirm in project quotation · OEM/ODM — To be confirmed

PROJECT CONFIGURATION CHECKLIST

| Exact model | SP5524 |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |