UPS UNINTERRUPTIBLE POWER SUPPLY

# AL-PH Integrated Home Energy Storage

Exact model: AL-PH-INTEGRATED-ESS

PRODUCT IMAGES

AL-PH-INTEGRATED-ESS · Primary

PRODUCT OVERVIEW

AL-PH Integrated Home Energy Storage with 2 source-reviewed models for Residential backup, solar self-consumption and off-grid homes. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | AL-PH-INTEGRATED-ESS |
| Applications | Residential backup, solar self-consumption and off-grid homes |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| AL-PH-INTEGRATED-ESS | AL-PH Integrated Home Energy Storage | Integrated inverter and LiFePO4 storage | 3.6KW / 7.68KWH to 6KW / 16KWH | AC and PV input / Single phase AC output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Integrated inverter and LiFePO4 storage |
| Power Range | 3.6KW / 7.68KWH to 6KW / 16KWH |
| Phase | AC and PV input / Single phase AC output |
| Form Factor | Floor standing |
| Waveform | Pure sine wave |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Source-defined lithium or LiFePO4 configuration |
| SKU | AL-PH-INTEGRATED-ESS |
| Available Configurations | AL-PH3.6KW-7.68KWH; AL-PH6KW-16KWH |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

AL-PH-INTEGRATED-ESS · Complete Model Specifications — AL-PH3.6KW-7.68KWH | AL-PH6KW-16KWH

| Parameter | AL-PH3.6KW-7.68KWH | AL-PH6KW-16KWH |
| --- | --- | --- |
| Rated capacity | 3.6KW / 7.68KWH | 6KW / 16KWH |
| Battery configuration | 25.6V 300Ah / 7.68kWh | 51.2V 314Ah / 16kWh |
| Dimensions | 740×400×240mm | 1040×460×240mm |
| Net weight | Not provided | Not provided |
| Transfer time | Not provided | Not provided |
| Efficiency | Not provided | Not provided |
| Model configuration — Rated capacity | 3.6KW / 7.68KWH | 6KW / 16KWH |
| Model configuration — Battery configuration | 25.6V 300Ah / 7.68kWh | 51.2V 314Ah / 16kWh |
| Model configuration — Product dimensions | 740×400×240mm | 1040×460×240mm |
| Input — PV input power | 5000W | 9000W |
| Input — PV charging voltage | 40–450V | 60–450V |
| Input — Optimum PV voltage | 300–400V | 300–400V |
| Input — Charging mode | MPPT | MPPT |
| Output — Output voltage | 220–240VAC | 220–240VAC |
| Output — Output frequency | 50/60Hz | 50/60Hz |
| Battery — Battery energy | 7.68kWh | 16kWh |
| Battery — Cycle life | ≥6000 cycles (supplier rating; conditions to be confirmed) | ≥6000 cycles (supplier rating; conditions to be confirmed) |
| Packaging — Package dimensions | 750×410×250mm | 1050×470×250mm |
| Packaging — Wooden crate dimensions | 760×420×260mm | 1060×480×260mm |
| Packaging — Total weight | 67.5kg | 124kg |
| Accessories — Accessories | Charging cable × 1; User manual × 1 | Charging cable × 1; User manual × 1 |