UPS UNINTERRUPTIBLE POWER SUPPLY

# AL-WM Wall-Mounted LiFePO4 Batteries

Exact model: AL-WM-WALL-BATTERY

PRODUCT IMAGES

| AL-WM-WALL-BATTERY · Primary | AL-WM-WALL-BATTERY · Gallery | AL-WM-WALL-BATTERY · Gallery | AL-WM-WALL-BATTERY · Gallery |
| --- | --- | --- | --- |

AL-WM-WALL-BATTERY · Gallery

PRODUCT OVERVIEW

AL-WM Wall-Mounted LiFePO4 Batteries with 4 source-reviewed models for Residential storage, inverter battery banks and DC backup systems. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | AL-WM-WALL-BATTERY |
| Applications | Residential storage, inverter battery banks and DC backup systems |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| AL-WM-WALL-BATTERY | AL-WM Wall-Mounted LiFePO4 Batteries | Wall-mounted LiFePO4 battery | 10KWH to 26KWH | DC charge input / DC discharge output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Wall-mounted LiFePO4 battery |
| Power Range | 10KWH to 26KWH |
| Phase | DC charge input / DC discharge output |
| Form Factor | Wall mounted |
| Waveform | DC |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Source-defined lithium or LiFePO4 configuration |
| SKU | AL-WM-WALL-BATTERY |
| Available Configurations | AL-WM512200; AL-WM512300; AL-WM512346; AL-WM512519 |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

AL-WM-WALL-BATTERY · Complete Model Specifications — AL-WM512200 | AL-WM512300 | AL-WM512346 | AL-WM512519

| Parameter | AL-WM512200 | AL-WM512300 | AL-WM512346 | AL-WM512519 |
| --- | --- | --- | --- | --- |
| Rated capacity | 10KWH | 15KWH | 18KWH | 26KWH |
| Battery configuration | 51.2V 200Ah / 10kWh | 51.2V 300Ah / 15kWh | 51.2V 346Ah / 18kWh | 51.2V 519Ah / 26kWh |
| Dimensions | Not provided | Not provided | Not provided | Not provided |
| Net weight | 87kg | 129kg | 132.2kg | 174kg |
| Transfer time | Not provided | Not provided | Not provided | Not provided |
| Efficiency | Not provided | Not provided | Not provided | Not provided |
| Model configuration — Rated capacity | 10KWH | 15KWH | 18KWH | 26KWH |
| Model configuration — Battery configuration | 51.2V 200Ah / 10kWh | 51.2V 300Ah / 15kWh | 51.2V 346Ah / 18kWh | 51.2V 519Ah / 26kWh |
| Model configuration — Net weight | 87kg | 129kg | 132.2kg | 174kg |
| Battery — Battery configuration | 16S1P | 16S1P | 16S1P | 16S1P |
| Battery — Battery energy | 10kWh (catalog rating) | 15kWh (catalog rating) | 18kWh (catalog rating) | 26kWh (catalog rating) |
| Communication & Monitoring — Communication interface | RS485 / CAN | RS485 / CAN | RS485 / CAN | RS485 / CAN |
| Communication & Monitoring — Battery management | BMS | BMS | BMS | BMS |
| Communication & Monitoring — Display | LCD (optional) | LCD (optional) | LCD (optional) | LCD (optional) |
| Packaging — Package dimensions | 725×520×310mm | 740×570×420mm | 740×570×420mm | 1050×665×215mm |
| Packaging — Wooden crate dimensions | 765×550×445mm | 775×600×555mm | 775×600×555mm | 1200×700×320mm |
| Packaging — Gross weight | 105.15kg | 146kg | 149.2kg | 194kg |
| Accessories — Accessories | Positive/negative cables: 1200mm × 1 each; RJ45 (RS485): 1500mm × 1; User manual | Positive/negative cables: 1200mm × 1 each; RJ45 (RS485): 1500mm × 1; User manual | Positive/negative cables: 1200mm × 1 each; RJ45 (RS485): 1500mm × 1; User manual | Positive/negative cables: 1200mm × 1 each; RJ45 (RS485): 1500mm × 1; User manual |