UPS UNINTERRUPTIBLE POWER SUPPLY

# AR Series Line-Interactive UPS

Exact model: AR-LINE-INTERACTIVE-UPS

PRODUCT IMAGES

AR-LINE-INTERACTIVE-UPS · Primary

PRODUCT OVERVIEW

AR Series Line-Interactive UPS with 3 source-reviewed models for Office PCs, POS terminals, CCTV recorders and small network equipment. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | AR-LINE-INTERACTIVE-UPS |
| Applications | Office PCs, POS terminals, CCTV recorders and small network equipment |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| AR-LINE-INTERACTIVE-UPS | AR Series Line-Interactive UPS | Line-interactive UPS with AVR | 650VA/360W to 1000VA/600W | Single phase input / Single phase output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Line-interactive UPS with AVR |
| Power Range | 650VA/360W to 1000VA/600W |
| Phase | Single phase input / Single phase output |
| Form Factor | Tower |
| Waveform | Simulated sine wave |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Model-dependent |
| SKU | AR-LINE-INTERACTIVE-UPS |
| Available Configurations | AR650; AR850; AR1000 |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

AR-LINE-INTERACTIVE-UPS · Complete Model Specifications — AR650 | AR850 | AR1000

| Parameter | AR650 | AR850 | AR1000 |
| --- | --- | --- | --- |
| Rated capacity | 650VA/360W | 850VA/480W | 1000VA/600W |
| Battery configuration | 12V/7Ah × 1 | 12V/9Ah × 1 | 12V/9Ah × 1 |
| Dimensions | 115×115×40mm | 115×115×40mm | 115×115×40mm |
| Net weight | 5.8kg | 6kg | 6kg |
| Transfer time | 4-6ms | 4-6ms | 4-6ms |
| Efficiency | Not provided | Not provided | Not provided |
| Model configuration — Rated capacity | 650VA/360W | 850VA/480W | 1000VA/600W |
| Model configuration — Battery configuration | 12V/7Ah × 1 | 12V/9Ah × 1 | 12V/9Ah × 1 |
| Model configuration — Product dimensions | 115×115×40mm | 115×115×40mm | 115×115×40mm |
| Model configuration — Net weight | 5.8kg | 6kg | 6kg |
| Model configuration — Transfer time | 4-6ms | 4-6ms | 4-6ms |
| Input — Input voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Input — Input voltage range | 81–145VAC or 145–275VAC | 81–145VAC or 145–275VAC | 81–145VAC or 145–275VAC |
| Input — Input frequency | 50/60Hz (auto sensing) | 50/60Hz (auto sensing) | 50/60Hz (auto sensing) |
| Output — Output voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Output — Voltage regulation | ±10% | ±10% | ±10% |
| Output — Battery-mode frequency | 50/60Hz ±1Hz | 50/60Hz ±1Hz | 50/60Hz ±1Hz |
| Output — Output waveform | Simulated sine wave | Simulated sine wave | Simulated sine wave |
| Charging — Charging time | 8h to 90% capacity | 8h to 90% capacity | 8h to 90% capacity |
| Protection — Protection function | Discharge, short circuit and overload | Discharge, short circuit and overload | Discharge, short circuit and overload |
| Display & Alarms — Display | LCD | LCD | LCD |
| Display & Alarms — Battery mode alarm | Every 4 seconds | Every 4 seconds | Every 4 seconds |
| Display & Alarms — Low battery alarm | Every second | Every second | Every second |
| Display & Alarms — Overload alarm | Every second | Every second | Every second |
| Display & Alarms — Fault alarm | Continuous | Continuous | Continuous |
| Communication & Monitoring — Communication interface | RJ45 / USB 5V (2A) | RJ45 / USB 5V (2A) | RJ45 / USB 5V (2A) |
| Environment — Operating temperature | 0–40°C | 0–40°C | 0–40°C |
| Environment — Relative humidity | 0–90% RH (non-condensing) | 0–90% RH (non-condensing) | 0–90% RH (non-condensing) |
| Environment — Noise level | <40dB | <40dB | <40dB |