UPS UNINTERRUPTIBLE POWER SUPPLY

# DC Series Mini DC UPS

Exact model: DC-SERIES-MINI-UPS

PRODUCT IMAGES

| DC-SERIES-MINI-UPS · Primary | DC-SERIES-MINI-UPS · Gallery |
| --- | --- |

PRODUCT OVERVIEW

DC Series Mini DC UPS with 8 source-reviewed models for Routers, ONT devices, CCTV cameras and IoT equipment. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | DC-SERIES-MINI-UPS |
| Applications | Routers, ONT devices, CCTV cameras and IoT equipment |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| DC-SERIES-MINI-UPS | DC Series Mini DC UPS | Compact DC backup UPS | 18W–36W | 85–265VAC, 50–60Hz input / DC / USB / PoE options output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Compact DC backup UPS |
| Power Range | 18W–36W |
| Phase | 85–265VAC, 50–60Hz input / DC / USB / PoE options output |
| Form Factor | Compact desktop |
| Waveform | Regulated DC |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Lithium-ion / LiFePO4 |
| SKU | DC-SERIES-MINI-UPS |
| Available Configurations | DC1018C; DC1018CP; DC1018; DC1018P; DC1036C; DC1036CP; DC1036; DC1036P |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

DC-SERIES-MINI-UPS · Complete Model Specifications — DC1018C | DC1018CP | DC1018 | DC1018P

| Parameter | DC1018C | DC1018CP | DC1018 | DC1018P |
| --- | --- | --- | --- | --- |
| Rated capacity | 18W | 18W | 18W | 18W |
| Battery configuration | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell |
| Dimensions | 160×105×33mm | 160×105×33mm | 160×105×33mm | 160×105×33mm |
| Net weight | 0.38kg | 0.4kg | 0.39kg | 0.39kg |
| Transfer time | Not provided | Not provided | Not provided | Not provided |
| Efficiency | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% |
| Model configuration — Rated capacity | 18W | 18W | 18W | 18W |
| Model configuration — Battery configuration | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell |
| Model configuration — Product dimensions | 160×105×33mm | 160×105×33mm | 160×105×33mm | 160×105×33mm |
| Model configuration — Net weight | 0.38kg | 0.4kg | 0.39kg | 0.39kg |
| Model configuration — Efficiency | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% |
| Input — Input voltage | 85–265VAC | 85–265VAC | 85–265VAC | 85–265VAC |
| Input — Input frequency | 50–60Hz | 50–60Hz | 50–60Hz | 50–60Hz |
| Battery — Battery chemistry | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 |
| Battery — Battery cell size | 18650 | 18650 | 18650 | 18650 |
| Battery — Cell capacity | 2000–2600mAh | 2000–2600mAh | 2000–2600mAh | 2000–2600mAh |
| Battery — Battery quantity | 4 | 4 | 4 | 4 |
| Protection — Protection function | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit |
| Environment — Operating temperature | 0–40°C | 0–40°C | 0–40°C | 0–40°C |
| Environment — Storage temperature | -10–70°C | -10–70°C | -10–70°C | -10–70°C |
| Environment — Relative humidity | 10–90% RH | 10–90% RH | 10–90% RH | 10–90% RH |
| Environment — Altitude | <3000m | <3000m | <3000m | <3000m |
| Environment — Noise level | <30dB | <30dB | <30dB | <30dB |
| Housing — Housing material | ABS | ABS | ABS | ABS |
| Housing — Housing color | Black / White | Black / White | Black / White | Black / White |
| Output — USB output | 5V/2A | 5V/2A | 5V/2A | 5V/2A |
| Output — DC output | 9V(12V)/1A | 9V(12V)/1A | 5V/2A; 9V/1A; 12V/1A | 5V/2A; 9V/1A; 12V/1A |
| Physical — Package dimensions | 180×160×37mm | 180×160×37mm | 180×160×37mm | 180×160×37mm |
| Physical — Gross weight | 0.51kg | 0.53kg | 0.5kg | 0.52kg |
| Output — PoE output | Not provided | 15V/0.6A; 24V/0.6A | Not provided | 15V/0.6A; 24V/0.6A |

DC-SERIES-MINI-UPS · Complete Model Specifications — DC1036C | DC1036CP | DC1036 | DC1036P

| Parameter | DC1036C | DC1036CP | DC1036 | DC1036P |
| --- | --- | --- | --- | --- |
| Rated capacity | 36W | 36W | 36W | 36W |
| Battery configuration | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell |
| Dimensions | 160×105×33mm | 160×105×33mm | 160×105×33mm | 160×105×33mm |
| Net weight | 0.39kg | 0.41kg | 0.4kg | 0.42kg |
| Transfer time | Not provided | Not provided | Not provided | Not provided |
| Efficiency | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% |
| Model configuration — Rated capacity | 36W | 36W | 36W | 36W |
| Model configuration — Battery configuration | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell | 4 × 18650; 2000–2600mAh/cell |
| Model configuration — Product dimensions | 160×105×33mm | 160×105×33mm | 160×105×33mm | 160×105×33mm |
| Model configuration — Net weight | 0.39kg | 0.41kg | 0.4kg | 0.42kg |
| Model configuration — Efficiency | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% | AC >85%; Battery >90% |
| Input — Input voltage | 85–265VAC | 85–265VAC | 85–265VAC | 85–265VAC |
| Input — Input frequency | 50–60Hz | 50–60Hz | 50–60Hz | 50–60Hz |
| Battery — Battery chemistry | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 | Lithium-ion / LiFePO4 |
| Battery — Battery cell size | 18650 | 18650 | 18650 | 18650 |
| Battery — Cell capacity | 2000–2600mAh | 2000–2600mAh | 2000–2600mAh | 2000–2600mAh |
| Battery — Battery quantity | 4 | 4 | 4 | 4 |
| Protection — Protection function | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit | Over-charge, over-discharge, over-current, overload, over-temperature and short circuit |
| Environment — Operating temperature | 0–40°C | 0–40°C | 0–40°C | 0–40°C |
| Environment — Storage temperature | -10–70°C | -10–70°C | -10–70°C | -10–70°C |
| Environment — Relative humidity | 10–90% RH | 10–90% RH | 10–90% RH | 10–90% RH |
| Environment — Altitude | <3000m | <3000m | <3000m | <3000m |
| Environment — Noise level | <30dB | <30dB | <30dB | <30dB |
| Housing — Housing material | ABS | ABS | ABS | ABS |
| Housing — Housing color | Black / White | Black / White | Black / White | Black / White |
| Output — USB output | 5V/2A | 5V/2A | 5V/2A | 5V/2A |
| Output — DC output | 9V/12V (3A) | 9V/12V (3A) | 5V/2A; 9V/2A; 12V/2A | 5V/2A; 9V/2A; 12V/2A |
| Physical — Package dimensions | 180×160×37mm | 180×160×37mm | 180×160×37mm | 180×160×37mm |
| Physical — Gross weight | 0.52kg | 0.55kg | 0.51kg | 0.56kg |
| Output — PoE output | Not provided | 15V/1A; 24V/1A | Not provided | 15V/1A; 24V/1A |