UPS UNINTERRUPTIBLE POWER SUPPLY

# FPS-500 Portable Power Station

Exact model: FPS-500-PORTABLE-POWER-STATION

PRODUCT IMAGES

FPS-500-PORTABLE-POWER-STATION · Primary

PRODUCT OVERVIEW

FPS-500 Portable Power Station with 1 source-reviewed model for Emergency response, field work, temporary offices and mobile equipment. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | FPS-500-PORTABLE-POWER-STATION |
| Applications | Emergency response, field work, temporary offices and mobile equipment |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| FPS-500-PORTABLE-POWER-STATION | FPS-500 Portable Power Station | Portable energy storage power station | 500W / 230Wh | AC and solar charging input / AC and DC output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Portable energy storage power station |
| Power Range | 500W / 230Wh |
| Phase | AC and solar charging input / AC and DC output |
| Form Factor | Portable |
| Waveform | Modified sine wave |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Source-defined lithium or LiFePO4 configuration |
| SKU | FPS-500-PORTABLE-POWER-STATION |
| Available Configurations | FPS-500 |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

FPS-500-PORTABLE-POWER-STATION · Complete Model Specifications — FPS-500

| Parameter | FPS-500 |
| --- | --- |
| Rated capacity | 500W / 230Wh |
| Battery configuration | Not provided |
| Dimensions | 317*107*175mm |
| Net weight | 5.1KG |
| Transfer time | Not provided |
| Efficiency | Not provided |
| Model configuration — Rated capacity | 500W / 230Wh |
| Model configuration — Product dimensions | 317*107*175mm |
| Model configuration — Net weight | 5.1KG |
| AC Output — Output Voltage | 220VAC |
| AC Output — Max Power | 500W |
| AC Output — Wave Form | Modified Sine Wave |
| AC Output — Frequency | 50Hz/60HZ |
| DC Output — USB | 4PCS USB output 5V/3A(total current) |
| DC Output — DC | 2PCS DC5.5/2.1 output 12V/5A(total current) (Option) |
| Input — AC Input | INV mode 70~145VAC OR 140 ~260VAC |
| Input — AC AC Charging | 4hours |
| Input — Solar Charging | Standard 5A |
| Input — Car Charging | 14.6V/4A(Option) |
| Battery — Capacity | Standard 230WH 12.8V/18AH |
| Battery — Battery type | LiFePO4 battery |
| PHYSICAL — Size /(mm) | 317*107*175mm |
| PHYSICAL — Net weight | 5.1KG |
| PHYSICAL — Size/CTN(mm) | 380*359*488 |
| PHYSICAL — Gross (KG) | 23.8 |
| PHYSICAL — PCS per CTN | 4 |