UPS UNINTERRUPTIBLE POWER SUPPLY

# Line-Interactive UPS 650VA-2000VA Series

Exact model: NX-UP-ST-002

PRODUCT IMAGES

| NX-UP-ST-002 · Primary | NX-UP-ST-002 · Gallery |
| --- | --- |

PRODUCT OVERVIEW

Line-interactive UPS with AVR providing enhanced voltage regulation for environments with frequent power fluctuations. Six models from 650VA to 2000VA.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | NX-UP-ST-002 |
| Applications | Small offices, Home offices, POS terminals, Security systems, Printers and peripherals |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| NX-UP-ST-002 | Line-Interactive UPS 650VA-2000VA Series | Line-Interactive with AVR | 650VA-2000VA / 390W-1200W | Single phase input / Single phase output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Line-Interactive with AVR |
| Power Range | 650VA-2000VA / 390W-1200W |
| Phase | Single phase input / Single phase output |
| Form Factor | Tower |
| Waveform | Simulated sine wave |
| Power Factor | 0.6 |
| Battery Types | VRLA sealed lead-acid |
| SKU | NX-UP-ST-002 |
| Available Configurations | AK650; AK850; AK1000; AK1200; AK1500; AK2000 |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

NX-UP-ST-002 · Complete Model Specifications — AK650 | AK850 | AK1000 | AK1200

| Parameter | AK650 | AK850 | AK1000 | AK1200 |
| --- | --- | --- | --- | --- |
| Rated capacity | 650VA / 390W | 850VA / 510W | 1000VA / 600W | 1200VA / 720W |
| Battery configuration | Not provided | Not provided | Not provided | Not provided |
| Dimensions | Not provided | Not provided | Not provided | Not provided |
| Net weight | Not provided | Not provided | Not provided | Not provided |
| Transfer time | 6ms | 6ms | 6ms | 6ms |
| Efficiency | Not provided | Not provided | Not provided | Not provided |
| Model configuration — Rated capacity | 650VA / 390W | 850VA / 510W | 1000VA / 600W | 1200VA / 720W |
| Model configuration — Transfer time | 6ms | 6ms | 6ms | 6ms |
| Input — Input voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Input — Input voltage range | 86–140VAC or 170–285VAC | 86–140VAC or 170–285VAC | 86–140VAC or 170–285VAC | 86–140VAC or 170–285VAC |
| Input — Input frequency | 50/60Hz | 50/60Hz | 50/60Hz | 50/60Hz |
| Input — Input power factor | ≥0.999 | ≥0.999 | ≥0.999 | ≥0.999 |
| Input — Wiring | L+N+PE | L+N+PE | L+N+PE | L+N+PE |
| Output — Output voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Output — Voltage regulation | ±10% | ±10% | ±10% | ±10% |
| Output — Output frequency | 50/60Hz ±1Hz | 50/60Hz ±1Hz | 50/60Hz ±1Hz | 50/60Hz ±1Hz |
| Output — Output power factor | 0.6 | 0.6 | 0.6 | 0.6 |
| Charging — Charging current | 1A | 1A | 1A | 1A |
| Communication & Monitoring — Communication interface | RS232 / USB / RJ11 / RJ45 | RS232 / USB / RJ11 / RJ45 | RS232 / USB / RJ11 / RJ45 | RS232 / USB / RJ11 / RJ45 |
| Communication & Monitoring — Display | LCD | LCD | LCD | LCD |
| Environment — Operating temperature | -25–55°C | -25–55°C | -25–55°C | -25–55°C |
| Environment — Relative humidity | 20–95% RH (non-condensing) | 20–95% RH (non-condensing) | 20–95% RH (non-condensing) | 20–95% RH (non-condensing) |
| Environment — Noise level | <40dBA @1m | <40dBA @1m | <40dBA @1m | <40dBA @1m |
| Packaging — Package dimensions | 390×313×440mm | 390×313×440mm | 390×313×440mm | 450×436×250mm |
| Packaging — Package weight | 20.8kg | 22.8kg | 23.2kg | 23.8kg |
| Packaging — Units per carton | 4 | 4 | 4 | 2 |

NX-UP-ST-002 · Complete Model Specifications — AK1500 | AK2000

| Parameter | AK1500 | AK2000 |
| --- | --- | --- |
| Rated capacity | 1500VA / 900W | 2000VA / 1200W |
| Battery configuration | Not provided | Not provided |
| Dimensions | Not provided | Not provided |
| Net weight | Not provided | Not provided |
| Transfer time | 6ms | 6ms |
| Efficiency | Not provided | Not provided |
| Model configuration — Rated capacity | 1500VA / 900W | 2000VA / 1200W |
| Model configuration — Transfer time | 6ms | 6ms |
| Input — Input voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Input — Input voltage range | 86–140VAC or 170–285VAC | 86–140VAC or 170–285VAC |
| Input — Input frequency | 50/60Hz | 50/60Hz |
| Input — Input power factor | ≥0.999 | ≥0.999 |
| Input — Wiring | L+N+PE | L+N+PE |
| Output — Output voltage | 110/120VAC or 220/230/240VAC | 110/120VAC or 220/230/240VAC |
| Output — Voltage regulation | ±10% | ±10% |
| Output — Output frequency | 50/60Hz ±1Hz | 50/60Hz ±1Hz |
| Output — Output power factor | 0.6 | 0.6 |
| Charging — Charging current | 1A | 1A |
| Communication & Monitoring — Communication interface | RS232 / USB / RJ11 / RJ45 | RS232 / USB / RJ11 / RJ45 |
| Communication & Monitoring — Display | LCD | LCD |
| Environment — Operating temperature | -25–55°C | -25–55°C |
| Environment — Relative humidity | 20–95% RH (non-condensing) | 20–95% RH (non-condensing) |
| Environment — Noise level | <40dBA @1m | <40dBA @1m |
| Packaging — Package dimensions | 450×436×250mm | 450×436×250mm |
| Packaging — Package weight | 25.2kg | 34kg |
| Packaging — Units per carton | 2 | 2 |