UPS UNINTERRUPTIBLE POWER SUPPLY

# APS Series Portable Power Stations

Exact model: APS-PORTABLE-POWER-STATION

PRODUCT IMAGES

APS-PORTABLE-POWER-STATION · Primary

PRODUCT OVERVIEW

APS Series Portable Power Stations with 2 source-reviewed models for Mobile service teams, emergency backup, field communications and lighting. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | APS-PORTABLE-POWER-STATION |
| Applications | Mobile service teams, emergency backup, field communications and lighting |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| APS-PORTABLE-POWER-STATION | APS Series Portable Power Stations | Portable LiFePO4 power station | APS-500W to APS-1000W | AC, solar and vehicle charging input / AC and DC output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Portable LiFePO4 power station |
| Power Range | APS-500W to APS-1000W |
| Phase | AC, solar and vehicle charging input / AC and DC output |
| Form Factor | Portable |
| Waveform | Sine wave |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Source-defined lithium or LiFePO4 configuration |
| SKU | APS-PORTABLE-POWER-STATION |
| Available Configurations | APS-500W; APS-1000W |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

APS-PORTABLE-POWER-STATION · Complete Model Specifications — APS-500W | APS-1000W

| Parameter | APS-500W | APS-1000W |
| --- | --- | --- |
| Rated capacity | APS-500W | APS-1000W |
| Battery configuration | 307WH 12.8V/24AH | 615WH 12.8V/48AH |
| Dimensions | 366x169x175 | 366x169x175 |
| Net weight | 6.6kg | 9.7kg |
| Transfer time | Not provided | Not provided |
| Efficiency | Not provided | Not provided |
| Input — AC input | INV mode INV 70~145VAC OR 140 ~260VAC | INV mode INV 70~145VAC OR 140 ~260VAC |
| Input — AC charging | 14.4V/8A | 14.4V/8A |
| Input — Solar charging | 10A (max) | 10A (max) |
| AC — Output voltage | 220Vac | 220Vac |
| AC — Output frequency | 50Hz or 60Hz | 50Hz or 60Hz |
| AC — Output waveform | sine wave | sine wave |
| AC — Max output power | 500W | 1000W |
| Technical Data — DC port | 12V/10A(max) | 12V/10A(max) |
| Technical Data — Net weight | 6.6kg | 9.7kg |
| DC — USB | 2*5V/2.4A USB-A ports + 1*QC2.0 fast chargingUSB-A port_ 2 5V/2.4AUSB-A +1 QC2.0 USB-A | 2*5V/2.4A USB-A ports + 1*QC2.0 fast chargingUSB-A port_ 2 5V/2.4AUSB-A +1 QC2.0 USB-A |
| Battery Specification — Battery type | LiFePO4 | LiFePO4 |
| Battery Specification — Battery Numbers | 16 | 32 |
| Battery Specification — Battery capacity | 307WH 12.8V/24AH | 615WH 12.8V/48AH |
| Physical Parameters — Size /(mm) | 366x169x175 | 366x169x175 |