UPS UNINTERRUPTIBLE POWER SUPPLY

# C Series Online Double-Conversion UPS

Exact model: C-SERIES-ONLINE-UPS

PRODUCT IMAGES

C-SERIES-ONLINE-UPS · Primary

PRODUCT OVERVIEW

C Series Online Double-Conversion UPS with 9 source-reviewed models for Servers, network rooms, CCTV control rooms and communication systems. Model configuration and destination-market requirements are confirmed during RFQ review.

| Product line | UPS Uninterruptible Power Supply |
| --- | --- |
| Series / family | Standalone model |
| Exact model | C-SERIES-ONLINE-UPS |
| Applications | Servers, network rooms, CCTV control rooms and communication systems |

MODEL IDENTIFICATION

| Exact model | Product / variant | Topology | Power Range | Phase |
| --- | --- | --- | --- | --- |
| C-SERIES-ONLINE-UPS | C Series Online Double-Conversion UPS | Online UPS | 1000VA / 800W Standard Battery to 10kVA / 8kW Long-Run | Single phase input / Single phase output |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Topology | Online UPS |
| Power Range | 1000VA / 800W Standard Battery to 10kVA / 8kW Long-Run |
| Phase | Single phase input / Single phase output |
| Form Factor | Tower |
| Waveform | Pure sine wave |
| Power Factor | Model-specific; confirm on quotation |
| Battery Types | Model-dependent |
| SKU | C-SERIES-ONLINE-UPS |
| Available Configurations | C1K-STANDARD; C1KS-LONG-RUN; C2K-STANDARD; C2KS-LONG-RUN; C3K-STANDARD; C3KS-LONG-RUN; C5K-STANDARD; C6KS-LONG-RUN; C10KS-LONG-RUN |
| Exact Configuration | Confirm one listed configuration during RFQ review |
| Destination Requirements | To be confirmed |

ENGINEERING TABLES

C-SERIES-ONLINE-UPS · Complete Model Specifications — C1K-STANDARD | C1KS-LONG-RUN | C2K-STANDARD | C2KS-LONG-RUN

| Parameter | C1K-STANDARD | C1KS-LONG-RUN | C2K-STANDARD | C2KS-LONG-RUN |
| --- | --- | --- | --- | --- |
| Rated capacity | 1000VA / 800W Standard Battery | 1000VA / 800W Long-Run | 2000VA / 1600W Standard Battery | 2000VA / 1600W Long-Run |
| Battery configuration | 2 × 12V 7Ah | 3 × 12V external batteries; Ah selected by project | 4 × 12V 7Ah | 6 × 12V external batteries; Ah selected by project |
| Dimensions | 360 × 147 × 220 mm | 360 × 147 × 220 mm | 440 × 192 × 340 mm | 440 × 192 × 340 mm |
| Net weight | 11.9 kg | 8.5 kg | 22 kg | 16 kg |
| Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Efficiency | Not provided | Not provided | Not provided | Not provided |
| Model configuration — Rated capacity | 1000VA / 800W Standard Battery | 1000VA / 800W Long-Run | 2000VA / 1600W Standard Battery | 2000VA / 1600W Long-Run |
| Model configuration — Battery configuration | 2 × 12V 7Ah | 3 × 12V external batteries; Ah selected by project | 4 × 12V 7Ah | 6 × 12V external batteries; Ah selected by project |
| Model configuration — Product dimensions | 360 × 147 × 220 mm | 360 × 147 × 220 mm | 440 × 192 × 340 mm | 440 × 192 × 340 mm |
| Model configuration — Net weight | 11.9 kg | 8.5 kg | 22 kg | 16 kg |
| Model configuration — Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Technical Data — Topology | Online UPS | Online UPS | Online UPS | Online UPS |
| Technical Data — Output voltage | 220 VAC | 220 VAC | 220 VAC | 220 VAC |
| Technical Data — AC voltage regulation | ±10% | ±10% | ±10% | ±10% |
| Technical Data — Battery-mode frequency | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz |
| Technical Data — Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Technical Data — Output waveform | Pure sine wave | Pure sine wave | Pure sine wave | Pure sine wave |
| Technical Data — Overload 105–110% | Alarm, no shutdown | Alarm, no shutdown | Alarm, no shutdown | Alarm, no shutdown |
| Technical Data — Overload 110–130% | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds |
| Technical Data — Overload >130% | Immediate shutdown | Immediate shutdown | Immediate shutdown | Immediate shutdown |
| Technical Data — Environment | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing |
| Technical Data — Noise | <55 dBA at 1 m | <55 dBA at 1 m | <55 dBA at 1 m | <55 dBA at 1 m |
| Technical Data — Management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management |
| Technical Data — Capacity | 1000VA /800W | 1000VA /800W | 2000VA /1600W | 2000VA /1600W |
| Technical Data — Input voltage range | 145–275 VAC ±5V | 145–275 VAC ±5V | 145–275 VAC ±5V | 145–275 VAC ±5V |
| Technical Data — Input frequency | 50–60 Hz | 50–60 Hz | 50–60 Hz | 50–60 Hz |
| Technical Data — Battery configuration | 2 × 12V 7Ah | 3 × 12V external batteries; Ah selected by project | 4 × 12V 7Ah | 6 × 12V external batteries; Ah selected by project |
| Technical Data — Maximum charging current | 1A ±10%; optional max. 1A or 2A | >5 A | 1A ±10%; optional max. 1A or 2A | >5 A |
| Technical Data — Charging voltage | 27.3 VDC ±1% | 27.4 VDC ±1% | 54.7 VDC ±1% | 82.1 VDC ±1% |
| Technical Data — Dimensions | 360 × 147 × 220 mm | 360 × 147 × 220 mm | 440 × 192 × 340 mm | 440 × 192 × 340 mm |
| Technical Data — Net weight | 11.9 kg | 8.5 kg | 22 kg | 16 kg |

C-SERIES-ONLINE-UPS · Complete Model Specifications — C3K-STANDARD | C3KS-LONG-RUN | C5K-STANDARD | C6KS-LONG-RUN

| Parameter | C3K-STANDARD | C3KS-LONG-RUN | C5K-STANDARD | C6KS-LONG-RUN |
| --- | --- | --- | --- | --- |
| Rated capacity | 3000VA / 2400W Standard Battery | 3000VA / 2400W Long-Run | 5000VA / 3000W Standard Battery | 6000VA / 4.8kW Long-Run |
| Battery configuration | 6 × 12V 7Ah | 8 × 12V external batteries; Ah selected by project | 4 × 12V 17Ah | 16 × 12V external batteries; Ah selected by project |
| Dimensions | 440 × 192 × 340 mm | 440 × 192 × 340 mm | 440 × 190 × 320 mm | 520 × 240 × 460 mm |
| Net weight | 27.9 kg | 18.2 kg | 33 kg | 30.5 kg |
| Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Efficiency | Not provided | Not provided | Not provided | Not provided |
| Model configuration — Rated capacity | 3000VA / 2400W Standard Battery | 3000VA / 2400W Long-Run | 5000VA / 3000W Standard Battery | 6000VA / 4.8kW Long-Run |
| Model configuration — Battery configuration | 6 × 12V 7Ah | 8 × 12V external batteries; Ah selected by project | 4 × 12V 17Ah | 16 × 12V external batteries; Ah selected by project |
| Model configuration — Product dimensions | 440 × 192 × 340 mm | 440 × 192 × 340 mm | 440 × 190 × 320 mm | 520 × 240 × 460 mm |
| Model configuration — Net weight | 27.9 kg | 18.2 kg | 33 kg | 30.5 kg |
| Model configuration — Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Technical Data — Topology | Online UPS | Online UPS | Online UPS | Online UPS |
| Technical Data — Output voltage | 220 VAC | 220 VAC | 220 VAC | 220 VAC |
| Technical Data — AC voltage regulation | ±10% | ±10% | ±10% | ±10% |
| Technical Data — Battery-mode frequency | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz |
| Technical Data — Transfer time | 0 ms | 0 ms | 0 ms | 0 ms |
| Technical Data — Output waveform | Pure sine wave | Pure sine wave | Pure sine wave | Pure sine wave |
| Technical Data — Overload 105–110% | Alarm, no shutdown | Alarm, no shutdown | Alarm, no shutdown | Alarm, no shutdown |
| Technical Data — Overload 110–130% | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds | Auto shutdown after 30 seconds |
| Technical Data — Overload >130% | Immediate shutdown | Immediate shutdown | Immediate shutdown | Immediate shutdown |
| Technical Data — Environment | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing | 20–90% RH, 0–40°C, non-condensing |
| Technical Data — Noise | <55 dBA at 1 m | <55 dBA at 1 m | <55 dBA at 1 m | <55 dBA at 1 m |
| Technical Data — Management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management | RS-232; optional SNMP/web management |
| Technical Data — Capacity | 3000VA /2400W | 3000VA /2400W | 5000VA /3000W | 6000VA /4.8kW |
| Technical Data — Input voltage range | 145–275 VAC ±5V | 145–275 VAC ±5V | 165–275 VAC ±5V | 165–275 VAC ±5V |
| Technical Data — Input frequency | 50–60 Hz | 50–60 Hz | 50–60 Hz | 50–60 Hz |
| Technical Data — Battery configuration | 6 × 12V 7Ah | 8 × 12V external batteries; Ah selected by project | 4 × 12V 17Ah | 16 × 12V external batteries; Ah selected by project |
| Technical Data — Maximum charging current | 1A ±10%; optional max. 1A or 2A | >5 A | 1A ±10%; optional max. 1A or 2A | >5 A |
| Technical Data — Charging voltage | 82.0 VDC ±1% | 109.4 VDC ±1% | 54.7 VDC ±1% | 218.4 VDC ±1% |
| Technical Data — Dimensions | 440 × 192 × 340 mm | 440 × 192 × 340 mm | 440 × 190 × 320 mm | 520 × 240 × 460 mm |
| Technical Data — Net weight | 27.9 kg | 18.2 kg | 33 kg | 30.5 kg |

C-SERIES-ONLINE-UPS · Complete Model Specifications — C10KS-LONG-RUN

| Parameter | C10KS-LONG-RUN |
| --- | --- |
| Rated capacity | 10kVA / 8kW Long-Run |
| Battery configuration | 16 × 12V external batteries; Ah selected by project |
| Dimensions | 520 × 240 × 460 mm |
| Net weight | 35 kg |
| Transfer time | 0 ms |
| Efficiency | Not provided |
| Model configuration — Rated capacity | 10kVA / 8kW Long-Run |
| Model configuration — Battery configuration | 16 × 12V external batteries; Ah selected by project |
| Model configuration — Product dimensions | 520 × 240 × 460 mm |
| Model configuration — Net weight | 35 kg |
| Model configuration — Transfer time | 0 ms |
| Technical Data — Topology | Online UPS |
| Technical Data — Output voltage | 220 VAC |
| Technical Data — AC voltage regulation | ±10% |
| Technical Data — Battery-mode frequency | 50 Hz ±0.25 Hz or 60 Hz ±0.3 Hz |
| Technical Data — Transfer time | 0 ms |
| Technical Data — Output waveform | Pure sine wave |
| Technical Data — Overload 105–110% | Alarm, no shutdown |
| Technical Data — Overload 110–130% | Auto shutdown after 30 seconds |
| Technical Data — Overload >130% | Immediate shutdown |
| Technical Data — Environment | 20–90% RH, 0–40°C, non-condensing |
| Technical Data — Noise | <55 dBA at 1 m |
| Technical Data — Management | RS-232; optional SNMP/web management |
| Technical Data — Capacity | 10kVA /8kW |
| Technical Data — Input voltage range | 165–275 VAC ±5V |
| Technical Data — Input frequency | 50–60 Hz |
| Technical Data — Battery configuration | 16 × 12V external batteries; Ah selected by project |
| Technical Data — Maximum charging current | >5 A |
| Technical Data — Charging voltage | 218.4 VDC ±1% |
| Technical Data — Dimensions | 520 × 240 × 460 mm |
| Technical Data — Net weight | 35 kg |