VIDEO WALL DISPLAY & NETWORK DECODING SYSTEM

# 5-inch HD IP Joystick Controller

Exact model: NX-PC-5HD

PRODUCT IMAGES

| NX-PC-5HD · Primary | NX-PC-5HD · Gallery | NX-PC-5HD · Gallery |
| --- | --- | --- |

PRODUCT OVERVIEW

A low-power IP joystick controller with a 5-inch HD display, ONVIF control and serial interfaces for camera and decoder operation.

| Product line | Video Wall Display & Network Decoding System |
| --- | --- |
| Series / family | Standalone model |
| Exact model | NX-PC-5HD |
| Applications | Compact monitoring desk, PTZ camera control, Local video preview, Decoder operation |

MODEL IDENTIFICATION

| Exact model | Product / variant | Display | Managed devices | Decoding |
| --- | --- | --- | --- | --- |
| NX-PC-5HD | 5-inch HD IP Joystick Controller | 5-inch 1280 × 720 | Up to 254 | 1080p at 30 fps |

TECHNICAL SPECIFICATIONS

| Parameter | Specification |
| --- | --- |
| Display | 5-inch 1280 × 720 LCD |
| Managed devices | Up to 254 |
| Decoding | 1080p at 30 fps |
| Interfaces | RJ45 / RS485 / RS422 / RS232; RJ45, RS485, RS422 and RS232 |
| Power | DC 12 V / PoE |
| Consumption | Below 1.5 W |
| Operating system | Linux |
| Video decoding | H.264 / H.265, up to 1080p at 30 fps |
| Control | Four-axis joystick and rotary control |
| Power consumption | Below 1.5 W |
| Operating temperature | -10 to 50 °C |

APPLICATIONS & RFQ CONFIRMATION

| Typical applications | Confirm in the project RFQ |
| --- | --- |
| Compact monitoring desk PTZ camera control Local video preview Decoder operation | Confirm camera brands/models, ONVIF behavior, device database size and required serial interfaces before quotation. |

Project supply: MOQ — Confirm by project quantity · Lead time — Confirm after compatibility review · FOB port — China main ports · OEM/ODM — Available; confirm project scope

PROJECT CONFIGURATION CHECKLIST

| Exact model | NX-PC-5HD |
| --- | --- |
| Application and site conditions | Confirm installation environment and operating requirements. |
| Quantity and model mix | Confirm forecast quantity, phase plan and required variants. |
| Interfaces and accessories | Confirm compatible interfaces, accessories and system integration scope. |
| Finish, branding and packing | Confirm only when project customization is required. |
| Documentation and destination | Confirm drawings, datasheets, packing documents and destination country or port. |