NEXPRO

NexPro SW-POE2426G
26-Port Gigabit PoE Switch (24-Port PoE + 2 Gigabit Uplink)

Technical Specification Sheet | Document Version 1.0 | May 2026

Product Overview

The NexPro SW-POE2426G is a 26-port Gigabit PoE switch purpose-built for large-scale IP surveillance and wireless access point deployments. With 24 PoE-enabled ports delivering both data and DC power over a single Cat5e/Cat6 cable, and 2 Gigabit uplink ports for high-speed NVR or core switch connectivity, it serves as the backbone aggregation switch for entire building floors, parking structures, or campus zones. A robust 320W total power budget and 8.8 Gbps backplane bandwidth ensure every connected camera records without interruption.

Core Value Proposition
Maximum Density: 24 PoE ports in a compact 312mm chassis — cover an entire floor or zone with a single switch.
Gigabit Uplink: Two 1000Mbps uplink ports ensure zero bottleneck when aggregating 24 camera streams.
Extended Reach: Extend mode delivers power + data up to 250m at 10Mbps.
True Plug-and-Play: Zero configuration — auto-sensing PoE, instant device recognition.
Intelligent Management: VLAN isolation and per-port speed control via a single physical switch.
Surge-Protected: Built-in lightning protection, engineered for surveillance-grade 24/7 operation.

Key Features

- 24× 100Mbps PoE Ports — Simultaneous data and DC power delivery via standard Cat5e/Cat6 cable; auto-sensing IEEE 802.3af/at compliant powered devices. 320W total power budget supports fully loaded 24-channel camera deployments including IR-illuminated models.

- 2× Gigabit Uplink Ports — Dedicated 1000Mbps uplink for NVR connection or cascading to core switch; no data bottleneck when aggregating all 24 camera streams simultaneously at maximum resolution.

- Extend Mode (250m) — When enabled, ports 1–24 operate at forced 10Mbps with VLAN isolation, extending transmission distance to 250 metres — ideal for perimeter cameras, remote gates, and parking lot coverage without fibre converters.

- VLAN Isolation — Paired with Extend mode, isolates each PoE port to prevent broadcast storms and enhance network security for dedicated surveillance traffic across large port counts.

- Wide Voltage PoE — DC 48–55V power supply, 320W total budget; supports both IEEE 802.3af (15.4W) and IEEE 802.3at (30W) powered devices simultaneously across all 24 ports.

- Plug-and-Play — No software configuration required; connect cameras and NVR, power on, all 24 channels operational within seconds.

- Compact Steel Housing — 312×185×46mm form factor fits standard 19-inch rack shelves and wall-mount enclosures.

- Surge Protection — Built-in lightning and surge protection for stable operation in outdoor cabinet and plant-floor installations.

- Broad Compatibility — Suitable for IP cameras, wireless APs, and other PoE-powered devices in retail, residential, school, hospital, campus, hotel, and SME environments.

Technical Specifications

| Product Name | 26-Port Gigabit Standard PoE Switch |
| --- | --- |
| Model Number | NexPro SW-POE2426G / 2420GB |
| Forwarding Mode | Store-and-Forward |
| Transmission Distance | Standard 100m / Extend mode up to 250m |
| Backplane Bandwidth | 8.8 Gbps full-duplex |
| PoE Ports | Ports 1–24 (Power + Data, Extend mode supported) |
| Uplink Ports | 2× 1000Mbps RJ45 Gigabit (non-PoE) |
| Data Pin Assignment | 1, 2, 3, 6 |
| Power Pin Assignment | Pins 1-2 positive (+) / Pins 3-6 negative (-) |
| Voltage Specification | DC 48–55V |
| Standard Power Supply | DC 52V / 320W |
| PoE Protocols | IEEE 802.3at (PoE+), IEEE 802.3af (PoE) |
| Network Medium | Cat5 / Cat5e UTP (unshielded twisted pair) |
| Dimensions | 312 × 185 × 46 mm (L×W×H) |
| Extend/VLAN Switch | ON: Ports 1-24 forced 10Mbps / 250m reach / VLAN enabled OFF: Ports 1-24 at 100Mbps / 100m reach / VLAN disabled |

Extend & VLAN Mode Configuration

The physical slide switch on the unit provides instant operational mode switching — no software, no reboot loops, no complexity.

| Switch Position | Port Speed | Max Distance | VLAN Isolation | Recommended Use Case |
| --- | --- | --- | --- | --- |
| ON | 10 Mbps (forced) | 250 metres | Enabled | Long-distance perimeter cameras, remote gate installations, standalone far-end deployments where high frame rate is not critical but distance exceeds 100m |
| OFF (default) | 100 Mbps | 100 metres | Disabled | Standard indoor and near-field installations where full frame rate and resolution are required from every camera |

Deployment Scenarios

For Hotel Projects

- One SW-POE2426G per floor covers up to 24 corridor cameras, elevator lobby cameras, and ceiling APs — an entire guest floor from a single compact switch in the weak-current shaft.

- Gigabit uplink ports connect directly to the hotel's core network; 8.8 Gbps backplane ensures all 24 cameras record simultaneously at 4Mbps without any packet loss.

- 320W power budget comfortably drives 24 IR-illuminated bullet cameras (NexPro-BL series) with power headroom for future expansion.

- Extend mode covers parking lot far-end cameras from the same floor switch, eliminating separate field cabinets.

- VLAN isolation prevents a single faulty camera from flooding the entire floor's surveillance network.

For Industrial & Factory Sites

- 24-port density plus 320W power budget supports comprehensive production-line coverage — conveyors, assembly stations, quality-control checkpoints, and perimeter — all from one rack-mounted switch.

- 8.8 Gbps backplane bandwidth ensures zero packet loss during continuous NVR recording across all 24 channels, even with AI metadata streams enabled.

- Metal housing and built-in surge protection withstand vibration, temperature fluctuations, and electrical noise common in plant environments.

- Gigabit uplink enables smooth integration with SCADA or MES monitoring overlays without bandwidth contention.

- Single-switch coverage reduces cabling complexity, spare parts inventory, and on-site troubleshooting time.

For System Integrators

- Auto-sensing PoE eliminates the need to manually calculate power budgets — the switch negotiates with each connected camera (NexPro-BL, NexPro-PT, or third-party ONVIF cameras) individually.

- Two Gigabit uplink ports allow daisy-chaining to additional switches or direct connection to NexPro-NVR series recorders with full 1000Mbps throughput.

- Compact 312mm width fits standard 19-inch rack shelves; same chassis size as the 18-port model simplifies cabinet planning and mounting bracket compatibility.

- 24-port capacity handles an entire project zone or building wing with a single switch, making procurement, deployment, and maintenance straightforward.

© NexPro. Where Systems Connect.
Powered by Seetong Cloud & Seetong Client Compatible Infrastructure.
For bulk project pricing and switch-camera bundle quotations: contact your NexPro solutions team.